XFEL Timing System
Status 11.2010
Christian Bohm
Attila Hidvégi
Patrick Geßler
Kay Rehlich
[Speaker Notes: How to edit the title slide Upper area: Title of your talk, max. 2 rows of the defined size (55 pt) Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt) Change the partner logos or add others in the last row.]

---
Synchronization and Timing Systems - Local
BPM
FPGA
Giga Link
ADC
Front-end
electronics
FPGA
LLRF
ADC
FPGA
RF
Distr.
+
LO
MLO
receiver
CPU
ADC
ADC
ADC
FPGA
MPS
DAC
MLO
Timing
µTCA
Crate
MO
FPGA
Timing 1.3GHz
Timing
Central Sys
Switch Hub, PCIe
Ethernet

---
Synchronization and Timing Systems - Global
Trigger
Timing System
MO
fs Laser System
LLRF System
XFEL
MLO
Timing

---
Timing System Blocks
Fiber links
with clock & data
up to 3km
1.3GHz telegrams
1.3GHz
Master
Oscillator
Timing
Transmitter
Timing
Receiver
50Hz
Line length
compensation
Clock&Data
Recovery
Machine
Protection
System
Clocks, patterns,
triggers, telegrams
Pattern & trigger
control
Event Number,
Time, mode,
Interrupts
Clock & delay
control
Control System

---
Possible Bunch Patterns
Max: 4.5 Mhz, 2700 bunches
Pre bunch
1 Mhz or lower frequencies
Arbitrary patterns
Different patterns @ different beamlines
in one macro pulse
or varying patterns from shot to shot
}
20 µs Gap
for Kicker
Exp 1
Exp 2
600 µs

---
Drift Compensation Schema
Stabilized ps
delay
1.3GHz
from MO
Receiver
Δt
SFP
SFP
Phase
compare
data
Δt
Virtex 5
Trigger
or
FLASH clock
PCIe
L 1
Δ 2
Δ 1
L 2

---
Timing Distribution
Central Timing
Injector
building
Tunnel
Backup
fiber optic link
KlyTrig.
BPM
MCH
CPU
MPS
Timing
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
MCH
CPU
MPS
Timing
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
Coupler Interlock ADC
CPU
MPS
Timing
BPM Interface
MCH
CPU
MPS?
Timing
Probe M1 ADC
Probe M2 ADC
Controller
Pfor M1 ADC
Pfor M2 ADC
Prefl M1 ADC
Prefl M2 ADC
Piezo COntroller
MCH
CPU
Timing
Probe M3 ADC
Probe M4 ADC
Controller
Pfor M3 ADC
Pfor M4 ADC
Prefl M3 ADC
Prefl M4 ADC
Piezo Controller ?
Controller
Timing transmitter
MCH
CPU
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
MCH
CPU
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter
Timing transmitter

---
Prototype Status of Combined Xmitter/Receiver
- 2nd prototype AMC boards are ready
- Ready:
  - OS driver and DOOCS server to talk to chips
- ToDO:
  - Implementation of a drift compensation controller

---
Timing Outputs of the Prototype
Clock with encoded data
SFP
CDR
Virtex 5
CML
CML
Div+delay
∂t= 31 * 300ps
LVDS
/n
LVPECL
Div. /1 .. /32
/n
Divider sync
e.g. AD9511
CML
x
CML
e.g. SY58040
∂t= 15 * 150ps
LVDS
/n
LVPECL
Div. /1 .. /32
/n
e.g. AD9515
clk
∂t= 15 * 150ps
LVDS
/n
/n
/1 .. /32
LVPECL
e.g. AD9515
Div. /1, /2, /4 .. /510
clk
/n
sync trigger
CML
LVDS
2 trigger
1.3GHz clk
Backplane

---
Clock and Trigger Sequences
100 kHz ?
50 Hz
Trig: 10 Hz
Event: Laser start
Variable delays
Event: RF start
Event: first bunch
Event: last bunch
Max 5.0 or 4.5 MHz
Bunch clock
bunches
Cavity and bunches
100 ms

---
Preliminary Specs
- Trigger:
  - Timing resolution: 1.54ns
  - Programmable with 32 bits (max delay seconds)
- Clocks:
  - Jitter: < 5ps RMS (goal)
  - Constant or burst (e.g.bunch clock)
  - Automatic adaption of location/beam mode
  - Fixed e.g. 100kHz (with const. Delay to first bunch)
- Raw 1.3GHz telegrams with encoded data
  - Data format is not yet fixed
    (e.g. number of filler words for the clock recovery TBD)

---
Requirements for the MO
- 20 * 1.3GHz outputs from MO
  - Best: differential --> input is LMK01020, AC coupled
- Optional 100.309kHz as trigger synchronization
  - LVDS, 1300GHz / 12960
  - Could be generated by the timing system