## Slide 1: Metallic Magnetic Calorimeters Applied for Precision X-Ray Spectroscopy of He-like Uranium
Philip Pfäfflein
9. Annual MT Meeting, 11/10/2023
Helmholtz Institute Jena

## Slide 2: Metallic Magnetic Calorimeter (MMC)
Decay constant: few ms
Rise time: few µs
Photon:
Signal:
Developed by the group of C. Enss and A. Fleischmann in Heidelberg:
maXs: microcalorimeter arrays for high-resolution X-ray spectroscopy at GSI/FAIR
55Mn, Ka
High energy resolution
Fast signal rise time
Known characteristic

## Slide 3: maXs Detector System: Design Considerations
Trade-off between active area and stopping power as sensor volume (=heat capacity) determines energy resolution.

## Slide 4: maXs-100 an MMC Optimized for 100 keV Photons
maXs-100
developed within
Detector parameters: | 
Active area: | 100 mm2 (64 pixels, 1.25 x 1.25 mm2 each)
FWHM at 60 keV: | 60 eV
Efficiency (QE) at 100 keV: | > 40%
z
y
x
w
K2
K1
Measurement :
A. Gumberidze et al., PRL 032712 (2004)
Notes: Area comparable to high res semiconductor detectors

## Slide 5: Temperature Dependant Gain of Microcalorimeters
b)
c)
Detector characteristics differ per pixel
Especially the gain is temperature sensitive
Gain varies with time
Application of extensive post processing necessary on a per pixel level
a)
>1keV
d)
<90eV
„Temperature“
„Gain“

## Slide 6: Continuous Calibration
foundation of high accuracy measurement
requirements:
  Well known line close to lines of interest
  MMCs require constant tracking of gain characteristic (calibration)
features:
  readout of source position  fed into DAQ
  continuous synchronised calibration
Notes: Keep it short: pulsed nature of detector operation leaves significant amount of time for continous calibration.

## Slide 7: Experimental Approach: Production of Excited HCI
n =100
s
d
f
l=98
l=99
Yrast–cascade chain
l=97
l=96
n = 1
n = 4
n = 99
n = 3
n = 2
p
ħω
K-shell
L-shell
M-shell
continuum
free electron
Ekin
electron beam
x-ray detector
x-ray detector
U91+
U90+
particle detector

## Slide 8: Background Suppression via Coincidences with U90+ Ions
time of flight photon signal vs particle detector signal
First utilisation of time resolution of the maXs detector for suppression of background radiation via coincident measurement with down-charged ions.
Coincidence Peak
Dt ≈ 300 ns FWHM
Balmer
Kα

## Slide 9: Background Suppression via Coincidences with U90+ Ions
[1s1/2, 3d5/2] → [1s1/2,2p3/2]
[1s1/2, 3d3/2] → [1s1/2, 2p1/2]
Preliminary Results

## Slide 10: A Glimpse at the Balmer Region
Preliminary Results
0°
180°

## Slide 11: Measured Spectra of the Kα-transitions
Preliminary results (to be published soon):
Preliminary Results
z
y
x
w
0°
180°
z
y
x
w
Kα2
Kα1
Kα2
Kα1
1S0
1S0
3P0
Kα1 (w)
Kα1 (x)
Kα2 (z)
Kα2 (y)
3S1
3P2
3P1
1P1
74 eV
142 eV
Preliminary Results

## Slide 12: Measured Spectra of the Kα-transitions
Preliminary Results
z
y
x
w
0°
180°
z
y
x
w
Kα2
Kα1
Kα2
Kα1
1S0
1S0
3P0
Kα1 (w)
Kα1 (x)
Kα2 (z)
Kα2 (y)
3S1
3P2
3P1
1P1
74 eV
142 eV
(exp.-theory)/theory*105
Atomic number Z
Discrepancy scales with Z4
PRL 109, 153001 (2012)
but highly disputed
No data for Z > 59 available
y - line
PRELIMINARY

## Slide 13: Summary and Outlook
Summary:
Two maXs-100 MMCs have been used to obtain high resolution spectra at CRYRING@ESR in the energy range 10 – 120 keV
Correction of temperature dependant gain has been adapted to include 4 readings
Timing capabilities of MMC detectors have been used in a coincidence measurement
MMCs have proven to reliably work in the harsh EM-environment even close to kicker magnet
Outlook:
Further development of data analysis routines
Application of lower energy maXs-detectors as well as higher pixel count MMCs
Further optimisation of MMC specific cryostats

## Slide 14: A Shoutout to the Involved Colleagues and Funding Agencies
42 shifts (=14 days) of beam time at CRYRING@ESR had been granted for E138 (Lamb shift study on H-like Uranium)
A. Warczak
S. Allgeier
A. Fleischmann
M. Friedrich
D. Hengstler
P. Kuntz
C. Enss
S. Bernitt
O. Forstner
Ch. Hahn
M. O. Herdrich
E. B. Menz
T. Over
G. Weber
B. Zhu
Th. Stöhlker
A. Borovik
P.-M. Hillenbrand
L. Duval
M. Kiﬀer
F. M. Kröger
M. Kubullek
S. Ringleb
Z. Andelkovic
J. Glorius
A. Gumberidze
F. Herfurth
A. Kalinin M. Lestinsky
B. Löher
N. Petridis
R. S. Sidhu
U. Spillmann
S. Trotsenko
Everybody involved

## Slide 15: Appendix

## Slide 16: Advantages of Microcalorimeters at CRYRING Electron Cooler
Uncertainties due to relativistic Doppler shift are greatly reduced at a low beam energy and with two detectors at 0° and 180°.
Elab: Photon energy in the laboratory system
Eproj: Photon energy in the emitter system

## Slide 17: New MBS-based DAQ Systems for maXs-detectors
Digitized Detector Signal
Common: SQUID-electronics using the same type of 16 channel struck ADCs
Newly tested: MBS based DAQ producing lmd files
Advantages: Seamless integration into heterogeneous detector environment at GSI/FAIR.
First test and evaluation of the data in July and the following months. Two major bugs where found and could be fixed till now.

## Slide 18: The New Experimental Setup at CRYRING@ESR
Key features:
0° and 180° observation angles
Insensitivity to geometrical misalignment
Beryllium windows 
High transmission also in the low photon-energy range
Energy calibration 
Control of detector response function
High-resolution microcalorimeter detectors 
Improved line centroid determination
0°
1
2
3
180°
1
3
2

## Slide 19: Precision of the maXs Detector
241Am spectrum
Single Pixel Signal
Total Spectrum
FWHM:
13.18 eV
FWHM:
16.38 eV

## Slide 20: Accuracy of the maXs Detector
59.53998 keV
0.00094 keV
Emeas
(Emeas–Elit)
42.43513 keV
0.00023 keV
54.70327 keV
–0.00053 keV
29.17887 keV
–0.00283 keV
26.3463 keV
0.0015 keV
Am γ
Am γ
Th γ
Th γ
Th γ
241Am lines: calibration
233U lines: benchmarking
Al shield to suppress low energy radiation
MMC
Combined
241Am & 233U source
Al shield

## Slide 21: Successful Deployment of a maXs-type Detector in a Precision Experiment
measured with maXs-30
Eisomer = 8.10 ± 0.17 eV

## Slide 22: He-Like Atomic/Ionic Systems
1S0
1S0
3P0
E1 (Kα1)
w
M2 (Kα1)
x
M1 (Kα2)
z
E1 (Kα2)
y
3S1
3P2
3P1
1P1
74 eV
142 eV
He-like Uranium
transition energies:
He transition energies:
K2
K1
Measurement :
A. Gumberidze et al.,
PRL 032712 (2004)
Notes: Scientific relevance: Relativistic electron-electron interaction at extreme field strengths.