## Slide 1: Dosimetry for FLASH Radiotherapy
DESY Zeuthen Particle Physics Mini-Retreat, 12 June 2023
Felix Riemer
Ph.D student Detector development

## Slide 2: FLASH radiation therapy
Years of experience
Tumor control
FLASH RT
Large community working on that
Same tumor control
Less damage to normal tissue
Conv. RT
The future of cancer treatment?
Conventional RT
Multiple sessions (2 Gy per session)
Usual dose rate: 2 Gy/min
Dose: 30 – 60 Gy
FLASH RT
Dose: 30 – 60 Gy
Less than 200 ms of total irradiation
Dose rate: > 30 Gy/s

## Slide 3
New challenge: Dosimetry
Detection of a huge amount of particles in a very short amount of time
PITZ: Up to 3x1010 particles within 30 ps
Research linac at DESY Zeuthen
22 MeV electron beam
Gun development & optimization
Production of high charge & small emittance beam
Perfectly suitable for FLASH RT experiments
PITZ
High Temporal resolution
Dose rate linearity
High Spatial resolution
Perfect detector

## Slide 4: Parameter range available at PITZ
Courtesy of James David Good, Marie-Catherine Vozenin, Jean-Francois Germond

## Slide 5: Challenges of FLASH dosimetry: 3 critical parameters
There is no perfect dosimeter for FLASH RT available now.
[arXiv:2006.03755 Dosimetry for FLASH Radiotherapy]
Three different categories of detectors:

## Slide 6: Preliminary setup of FLASHlab@PITZ
Dipole
Vertical kicker
BPMs
Screen + Faraday cup
beam direction
Ti window
Dipole deflects the beam by 60° to the left
ICT
 THz beamline
Screen
FC
1. exp. area
Courtesy of Frank Stephan

## Slide 7: Start-up setup for radiation beamline
Sample in holder on motorized transverse stage
Tube
]
Courtesy of Zohrab Amirkhanyan
Courtesy of Frank Stephan
1 b.train with 91 bunches
2 nC
1 b.train with 91 bunches
Film before tube
Film after tube
electrons
Dose simulation
Dose measurement with gafchromic films
Courtesy of Anna Grebinyk

## Slide 8: FLASHlab@PITZ: first in vitro experiments
Investigation of:
Hydrogen peroxide production
Hydroxide production
Direct damage to DNA
Experiments
Irradiation of water
Irradiation of DNA plasmid
Irradiation of cancer cells
Courtesy of Anna Grebinyk

## Slide 9: H2O2 & HO generation
H2O
H2O2
●
HO●
●
●
H2O
Courtesy of Anna Grebinyk

## Slide 10: DNA damage & cancer cells
DNA strand breaks
in water
Courtesy of Anna Grebinyk
lung carcinoma cells

## Slide 11: Depth dose profile and dosimetry for HZDR measurements
Preparatory dosimetry for later measurement with zebra fish embryos from Helmholtz centrum Dresden-Rossendorf
Low charge beam on the outside of the phantom
Goal for HZDR: 90% homogeneity in 5x8 mm rectangle, max dose 30 Gy
Homogeneity: 90.2 %
(Definition: Deviation of max/min in ROI from average in ROI)
Depth dose profile for 4 different beam parameters
defocussed
focussed
Setup
Preliminary! Analysis ongoing
Result
Plexiglass plates were introduced to get a more homogeneous beam: 5 & 10 mm were tested.
Result: Homogeneity was achieved with 10mm scattering plate
Uni Manchester/Daresbury provided water tank for depth dose profile measurements

## Slide 12
Conclusion
The PITZ accelerator at DESY Zeuthen can provide conv. dose rate up to ultra high dose rate.
Setups: Water phantom & movable stage for irradiation of samples in tubes
Dosimetry: Reference dosimetry was established, more detector tests planned
Biological experiments started
  Irradiation of water: Difference between low and high dose rate
  Irradiation of DNA & cells: No difference Next step: Irradiation under hypoxic (less O2) conditions

## Slide 13: Publications
Paper: F. Stephan et al.: “Progress on the R&D platform FLASHlab@PITZ”, https://doi.org/10.1016/j.ejmp.2022.10.026
Poster: F. Riemer: “First dosimetry tests at PITZ”, FRPT 2022, Barcelona
Paper: Cristina Oancea et al: “Thermal neutron detection and track recognition method in reference and out-of-field radiotherapy FLASH electron fields using Timepix3 detectors”, under review (Physics in Medicine and Biology)
Talk: F. Riemer: “First dosimetry tests at PITZ”, UHDpulse meeting 2023, Prague
Talk: F. Riemer: “Dosimetry tests for FLASH RT at PITZ”, DPG meeting 2023, Dresden
Talk: F. Riemer: “Flashlab@PITZ”, Beam telescopes and test beam workshop 2023, Hamburg
Paper & Poster: Z. Amirkhanyan et al.: “Comparison of measurements and simulation results of dose for the FLASH radiation therapy beamline at PITZ”, submitted for LPR, IPAC 2023, Venice
Paper & Poster: Z. Amirkhanyan et al.: “An alternative beamline setup for FLASH radiation therapy with focused electron beams at the PITZ facility at DESY in Zeuthen: basic concept and dosimetry simulations”, submitted for LPR, IPAC 2023, Venice
Abstracts submitted:
Invited talk: F. Riemer: “Dosimetric experiments at high and low dose rates at FLASHlab@PITZ”, VHEE23, Hamburg
Talk: F. Riemer: “Dosimetrie bei FLASHlab@PITZ”, DGMP meeting 2023, Magdeburg
Talk: F. Riemer: “UHDR Dosimetry at the PITZ accelerator”, FRPT 2023, Toronto

## Slide 14
Acknowledgment
DESY & PITZ team:
Zohrab Amirkhanyan, Namra Aftab, Prach Boonpornprasert, Dmytro Dmytriiev,
Anna Grebinyk, Andreas Hoffmann, Ekkachai Kongmon, Mikhail Krasilnikov, Xiangkun Li,
Frieder Mueller, Anne Oppelt, Chris Richard, Frank Stephan, Grygorii Vashchenko, Daniel
Villani, Steven Worm

## Slide 15: Thank you