## Slide 1: Compute Cluster Energy Optimization
Better Utilizing Clusters with Grid Production or Local User Jobs
Thomas Hartmann DESY IT

## Slide 2: Main Cluster Flavours HPC vs. HTC

## Slide 3: Job Types in the HEP Community
DE T2s & National Analysis Facility
CPU oriented scheduling
High-Throughput Clusters prevalent
  HEP events can be processed embarrassingly parallel
  Optimal utilization of resources
High-Performance Clusters opportunistically used by some groups
“Memory Scheduling” like Apache Spark or DASK might become more complementary
  Avoiding idling CPUs with Memory focused application might be an issue
HTC and HPC clusters

## Slide 4: HPC

## Slide 5: HPC Cluster
DE T2s & National Analysis Facility
End users: direct submission to compute cluster
Job scheduling per node granularity
Full node available to a job
Reasonable utilization left to the user/application
Efficient utilization of resources not (necessarily) primary goal
Full Node Scheduling
HPC Cluster
Node
Node
Node
Node
Job
Job
User 1
User 2

## Slide 6: HTC

## Slide 7: HTC Cluster
DE T2s & National Analysis Facility
End users: direct submission to compute cluster
Jobs as requirements of subset of nodes, e.g., 1 core & 2GB mem
Full utilization of clusters possible
Job upstart latency can increase
Granular Job Scheduling
HTC Cluster
Node
Node
Node
Node
1 core 2GB
8 core 16GB
8 core 16GB
8 core 16GB
8 core 16GB
User 1
User 2
User 3

## Slide 8: HTC Clusters
DE T2s & National Analysis Facility
2 HTC clusters
  User jobs: NAF
  Group Production: Grid
  Logical separated
  Same code and admin base
Differing workloads
  Different energy saving options
User/Job Flavours at DESY
User Jobs
Group Prod

## Slide 9: User Cluster: National Analysis Facility
DE T2s & National Analysis Facility
Individual users
Utilization dynamic
Overall utilization depends on work hours, holidays, ..., deadlines, conferences
Job start up latency relevant for user satisfaction
HTCondor Cluster for German HEP Users

## Slide 10: Grid Cluster at DESY-HH
DE T2s & National Analysis Facility
Primarily HEP Groups
Centralized pilot jobs
  Group Production Payloads
Goal: Full utilization 24/7/365
Job start up latency not critical
  Submission indirect via “CE”
HTCondor Cluster for HEP Communities

## Slide 11: HEP Grid Type jobs
DE T2s & National Analysis Facility
Remote (pilot) job submission through Compute Element gateways
Pilot jobs not actual physics payload
Actual payload pulled from group job factories & executed by pilot job
Final payload run by pilots potentially unknown during pilot job start
Timing dependent cluster job scheduling difficult
Pilot/Payload jobs
HTC Cluster
Node
...
pilot job
pilot
Group 1
CECA
CE
Group 2
CECA
Group 1 Job Factory
Payload
remote
remote

## Slide 12: Cluster Power Shaping

## Slide 13: Power Shaping per Node
DE T2s & National Analysis Facility
Power consumption optimization depending on usage patterns
Production Workload/Cluster
  Job-Life-Time dependent scheduling difficult (payload run time potentially unknown to pilots)
  Cluster external power shaping
  Node/kernel power shaping transparent to payloads
CPU Governor stepping driven by Green Energy availability
Workload dependent Power Saving: Grid
Node
Node
job run time
job run time’
node freq ~ power usage

## Slide 14: Cluster-wide Power Shaping
DE T2s & National Analysis Facility
User Clusters with more dynamic utilization
  Potentially higher job entropy
  Cluster intrinsic power shaping
  Horizontal vs. vertical scheduling
    Cluster compression
    price: higher job upstart latency/entropy
    More aggressive node shedding
    Opportunistic node ramp up with backfill workloads on standby
Workload dependent Power Saving: Users

## Slide 15: Preemption: Job Shedding minimizing Cycle Waste
DE T2s & National Analysis Facility
Draining Cluster/Nodes
  Wasting idle CPU cycles
Hard Node shedding
  Wastes all CPU cycles so far of active jobs
Ideally: Pre-emptable Jobs
  Grace Period SIGTERM ⟶ SIGKILL
  Snapshot/Stage results so far
  Requires: User Side Implementation...
User Side Implementation Necessary
Simulation: Node Utilization while Draining
AIneff
Autil
Bcutt
48 Core
96 Core

## Slide 16: Green Energy Driven Computing

## Slide 17: Cluster Power Shaping
Positive/Negative external energy incentives
  Positive Incentive: Surplus of green energy, i.e., depressed prices
    Job fan out to opportunistic resources
    Opportunistic green energy sink with opportunistic computing
    Offshore wind farms (general weather patterns)
    Photovoltaics (night/day cycle + general weather patterns)
    limited transport capacity to southern Germany
  Negative Incentive: Lulls of green energy resources
    CPU frequency throttling
      High responsiveness, smaller savings (baseline power consumption)
    Node shedding
      Low responsiveness, larger savings (depending on draining efficiencies)
HH
ZN
https://www.offshore-windindustrie.de/windparks/deutschland
European energy market bidding zones https://fsr.eui.eu/electricity-markets-in-the-eu/

## Slide 18: Green Energy driven Cluster Shaping
DE T2s & National Analysis Facility
Short & mid-term green energy variations
https://www.smard.de/en/marktdaten?marketDataAttributes=%7B%22resolution%22:%22day%22,%22from%22:1672527600000,%22to%22:1675205999999,%22moduleIds%22:%5B1004066,1001226,1004067,1004068,1001228,1001224,1001223,1004069,1004071,1004070,1001227,1001225%5D,%22selectedCategory%22:null,%22activeChart%22:true,%22style%22:%22color%22,%22categoriesModuleOrder%22:%7B%7D,%22region%22:%22DE%22%7D
Winter ~= Wind
Summer ~= Photovoltaics
Northern Germany: offshore wind farms nearby + photovoltaics
Green Energy with seasonal variations
  Winter ~= Wind ~= mid-term variation O(days)
  Summer ~= Solar ~= short-term variation O(interday)
~~> adaptable compute cluster wrt. Green Energy patterns/frequencies
  Short-term ~ throttling/short term
  Mid-term ~ shedding/ramp-up
🌞
🌞
🌬
🌬
Green Energy Contributions: January / July

## Slide 19: Architecture/Generation Energy Efficiency
CPU Efficiency per Electric Power Consumption
  Significant efficiency gains with recent microarchs (aka Zen)
  CPU compute power per Watt gain ~4x from oldest workers still in production
  Old, energy inefficient nodes as dynamic moderators for shedding/fan out
  Shaping Frequency depending on production job run time/draining rate
year/microarch
hs06 per Watt

## Slide 20: Production Cluster Energy Efficiency
DE T2s & National Analysis Facility
WattHours consumed for HS06 delivered
  E.g.
  target deliverable: 1000 kHS06
  “combo” cluster: ~410 kWh
  “high efficiency” cluster: ~298 kWh
  “low efficiency” cluster: ~587 kWh
  Low efficiency cluster as opportunistic resource
    Load shedding when necessary
    Scheduling has to be adapted
opportunistic low efficiency cluster
pledge high efficiency cluster

## Slide 21: Opportunistic Resource Utilization
Utilizing surplus green energy
  Complementary to load shedding
  Node ramp up O(~minutes)
  O(shedding)? Depends on payload runtimes and overall cluster job entropy
  Need interface to weather/green energy pricing forecasts
    helper HTCondor Daemon with external input for cluster shaping?
  Damping wavelengths by payloads
  How to avoid significant draining idle waste cycles
    Backfilling short jobs?
    Assist users implementing preemption?

## Slide 22: Final Thoughts

## Slide 23: Final Thoughts
Utilizing surplus green energy
  Green Energy will bring down compute costs
    When done right!
    Compute as flexible sponge for Green Energy
  Have to become more flexible & dynamic
    Dynamic cluster requires the input and input processing
    Better monitor the clusters themselves
    Monitor external factors
    Green Energy Feedback Cluster Control

## Slide 24: Appendix

## Slide 25: Opportunistic Resource Utilization
Dynamic Overlay Cluster ~ Breathing Scale up/down

## Slide 26: Load Shedding: Worker Draining
Worker Draining Projections
  Without scheduling information only statistic estimates
  Efficiency stochastic draining vs. scheduled draining
  Load shedding efficiency
    Utilization drain start and shut/cutt off
  Simulation + analytic projections (K. Severin, L. Mansur, L. Janssen)
  ATLAS jobs ~= 6h lifetime Gaussian + 2h width
  Old 48 core workers & new 96 core workers
  What draining inefficiency acceptable?
  Going more for vertical scheduling?
AIneff
Autil
Bcutt
48 Core
96 Core

## Slide 27: Worker Frequency Scaling
CPU Govenor Scaling vs/ Sub-Clusters
  Zen only three freqs with 3.10
  Idle offset ~150W
  Normalized to HS06 benchmark runs
  Efficiency sweet spot at mid freq
  recap: 1000 kHS06 delivered
  “uncapped combo” cluster: ~410 kWh
  “min freq combo” cluster: ~419 kWh
  “high efficiency” cluster: ~298 kWh
fix base frequency
HS06/Watt

## Slide 28: Energy Prices
DE T2s & National Analysis Facility
Germany/Denmark
https://energy-charts.info/charts/price_average/chart.htm?l=en&c=DE&chartColumnSorting=default&interval=day&day=m01
https://ember-climate.org/data/data-tools/europe-power-prices/
https://energy-charts.info/charts/price_average/chart.htm?l=en&c=DK&chartColumnSorting=default&interval=day&day=m01&legendItems=100

## Slide 29: Worker Frequency Scaling
Appendix

## Slide 30: Worker Frequency Scaling