## Slide 1
SASE Racks
Brandschutz / Hr. Hanstedt
Thermal Stabilisation
Not Aus
Lüfter
Positionen von Racks
Bessere 3D Bildern

## Slide 2
SASE Racks

## Slide 3
Undulator rack Intersection rack Machine rack
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Vacuum
SASE 1: 33
SASE 2: 37
SASE 3: 21
SASE Racks
Diagnose: 2 Cabinets pro 4 Undulators
  (Temperature stability ~0.1 K)
Vacuum: 1 Cabinet pro 4 Undulators
Fire protection system
24,4 m
6,1 m
IT

## Slide 4
33 Undulators
11 Racks with fire protection modules
SASE 1: 33
SASE 2: 37
SASE 3: 21
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Vacuum
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Vacuum
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Diagnostic
SASE 1
SASE 1: 2212,94 m – 2420,94 m 208 m Ø 5,2 m

## Slide 5
SASE 2
SASE 1: 33
SASE 2: 37
SASE 3: 21
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Vacuum
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Vacuum
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Diagnostic
Diagnostic
Diagnostic
Vacuum
37 Undulators
13 Racks with fire protection modules
SASE 2: 2212,75 m – 2472,55 m 259.8 m Ø 5,2 m

## Slide 6
SASE 1: 33
SASE 2: 37
SASE 3: 21
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Vacuum
Diagnostic
Diagnostic
Diagnostic
Diagnostic
Vacuum
Vacuum
Diagnostic
21 Undulators
7 Racks with fire protection modules
SASE 3
SASE 3: 2787,73 m – 2943,68 m 155,95 m Ø 4,5 m

## Slide 7
SASE Racks
„The doors is equipped with open/close sensors. One sensor is to switch on the lighting inside the rack and the other one is to disable the fire-extinguishing system when the door is open.”
„Each rack is equipped with 32A, 3 phases “Emergency Main Switch”…
The emergency switch must be secured with a lock in case it is switch off. It is necessary to avoid accidental power-on during the maintenance in the rack.”

## Slide 8
2160,79 m - 2212,75 m (T1)
001
undulator rack : 2000mm x 500mm x 500mm
intersection rack : 1000mm x 500mm x 500mm
machine rack : 800mm x 600mm x 500mm
The racks are no longer fixed on the ceiling (needs special fixation plates in the racks = expensive)
The racks are located on an anchor bar, which are connected to the water and energy supports
SASE Racks

## Slide 9
10-11 RU (?)
Machine rack : 800mm x 600mm x 500mm
No shielding
Cooling by the use of tunnel air
Requirements for the temperature stability of the tunnel air are 0.1 K but …
5 RU
Place required for:
Fire detection System ……… 1 RU
BPM Unit ……………………. 6 RU
Machine Control ……………..7 RU
Patch panels …………………2 RU
___________
16 RU (~ 70 cm)
400 mm
800 mm
500 mm
SASE Racks

## Slide 10
1000 mm
800 mm
Schroff 10230-202
WP28
Accelerator Control System
Lüftern - 1 RU
Brandschutz - 1 RU
AC - 7 RU
Diagnose - 6 RU
Diagnose - 6 RU
Nicht besetzt - 2 RU
Lüftern - 1 RU
SASE Racks

## Slide 13
Thank You !