## Slide 1: Automatic Differentiation Near-Field Ptychography
Zhang Yiwei , DESY CFEL
September 4, 2024

## Slide 2: Table of Contents
01 Introduction
02 Simulation and results
- structured illumination
03 Summary

## Slide 3
A high-resolution imaging
method is needed
Materials Science
Biological Imaging
Semiconductor Industry
……
Background
The picture shows ptychographic
reconstruction of an integrated circuit (IC).
M. Holler, M. Guizar-Sicairos, E.H. Tsai, R. Dinapoli, E. Müller, O. Bunk, J. Raabe, G. Aeppli: High-resolution non-destructive three-dimensional imaging of integrated circuits, Nature 543(7645), 402–406 (2017)
Advancement of third generation synchrotrons like PETRA III excites a big interest on X-ray ptychography.

## Slide 4
X-ray: a high-resolution imaging method
  - diffraction limit:
  - higher resolution than visible light imaging ()
Introduction — Challenges of traditional X-ray
Why is it challenging for X-ray to be imaged by lens?
  - high quality and high NA of lens is challenging to make
Ptychography

## Slide 5
Greek word ‘ptycho’ means ‘fold’
Principle :
Illumination probe scans over the specimen with
sufficient overlap
2. Intensity of diffraction pattern is recorded
3. Use algorithm to reconstruct the sample and probe
Sufficient Overlap in illumination between adjacent positions to recover the lost phase information
Ptychography
Springer Handbook of Microscopy. (Springer International Publishing, Cham, 2019).
https://en.wikipedia.org/wiki/Ptychography

## Slide 6
Conventional Algorithms
2、Alternating projections scheme: DM, RAAR
1、PIE family：mPIE, ePIE……
Springer Handbook of Microscopy. (Springer International Publishing, Cham, 2019).

## Slide 7
Drawbacks
Of Conventional Algorithms
Inflexible:
Change of the experimental
condition
need
manual re-derivation of the calculation strategy
Gradient Descent Method
Flexible
Guess
Results
Observed results
Forward propagation
—
Loss function
=
Back propagation——
Gradient descent
Ground truth

## Slide 8
How does gradient descent actually work?
update in the direction that reduces the loss
Automatic differentiation to calculate
Chain rule:
Learning rate: step size
Advanced: adapt the learning rate with momentum (“ADAM”)--More suitable for non-convex optimization problems

## Slide 9: Framework of simulation
Randomly initialize two matrices as object and probe, respectively
Calculate exit wavefront:
Propagate the exit wavefront to get the intensity patterns
where y is amplitude of images
Update:
Notes: Tvloss helps to maintain smoothness and reduce noise.

## Slide 10: How to generate digital data as ground truth for testing?
Probe size(128×128)
Object size(256×256)
Probe overlap:90%
Amplitude
Phase
Scan positions with randomness
Diffraction images
Amplitude
Probe
propagation

## Slide 11: Result
Reconstructed object
Ground truth object
amplitude
amplitude
phase
phase
Initial learning rate=0.01
Iteration = 3000
Under high overlap conditions(90%), the reconstruction quality is acceptable

## Slide 12: Result
Reconstructed object
amplitude
phase
Initial learning rate=0.01
Iteration = 3000
Under low overlap conditions(70%), the reconstruction quality becomes worse
Structured illumination
– to add some diversity to the data
solution

## Slide 13
Why diversity is provided ?
The Fourier Shift Theorem:
The intensity:
If probe is normal as pink shows, for the overlapping region of object between two probe positions, the intensities of diffraction pattern have same information.
If probe is structured as blue shows, the overlapping region is illuminated by different area of probe. So it can provide more information and diversity.

## Slide 14: Add some aberration
Diffuser improves reconstruction
Astigmatism
Coma
Spherical
Diffuser
Where is the probe, is the amplitude and is the phase
Add some aberration to phase
Try Zernike aberration but reconstruction doesn’t become better

## Slide 15: Improvement
The overlap rate is 70%
Without diffuser
Reconstructed object
Reconstructed probe
With diffuser
Reconstructed object
Reconstructed probe
The improvement is quite significant

## Slide 16: Aberration with different spatial frequency components
Put a ring mask to select specific frequency components
Draw FRC(fourier ring correlation curve) of different radius of ring mask
The results are improved with more high spatial frequency components.
Phase of the diffuser
FFT of
Put a ring mask
IFFT--Phase ’

## Slide 17: Summary
Ptychography:
Conventional Algorithms: PIE\projection
Gradient Descent:
Update in the opposite direction of gradient
Use AD to calculate gradient
Simulation result:
Work with high overlap rate
Bad when overlap rate is low
Structured illumination :
diversity
higher frequency plays an important role
More flexible and adaptive

## Slide 18
Zhang Yiwei
yiwei.zhang@desy.de
Thank you