## Slide 1: The Path to Series Production of the MicroTCA.4 Based Scientific Detector Controller (NGCII) for the Extremely Large Telescope
Mathias Richerzhagen, Matthias Seidel
Max Engelhardt, Alexander Rüde

## Slide 2: ELT Construction Progress
Image Credit: ESO

## Slide 3: ELT Construction Progress
Image Credit: ESO

## Slide 4: Publication in JATIS
Published journal article in Journal of Astronomical Telescopes, Instruments, and Systems VOL. 10 · NO. 4 | October 2024
  https://doi.org/10.1117/1.JATIS.10.4.046001
  Preprint available at:
  https://doi.org/10.48550/arXiv.2410.22965

## Slide 5: NGCII Detector Controller for ELT 2020
Extremely Large Telescope
Credit: ESO/L. Calçada
4x Very Large Telescope
Credit: J.L. Dauvergne & G. Hüdepohl
HARMONI
(e.g. High Red-Shift Galaxies)
Credit: ESO/L. Calçada & Olga Cucciati et al.
METIS
(e.g. High Red-Shift Galaxies)
Credit: ESO/L. Calçada
MICADO
(e.g. Black Holes)
Credit: ESO/L. Calçada
8 Detectors
7 Detectors
9 Detectors

## Slide 6: NGCII Detector Controller for ELT/VLT/VST 2024
Extremely Large Telescope
Credit: ESO/L. Calçada
4x Very Large Telescope
Credit: J.L. Dauvergne & G. Hüdepohl
HARMONI
(e.g. High Red-Shift Galaxies)
Credit: ESO/L. Calçada & Olga Cucciati et al.
METIS
(e.g. High Red-Shift Galaxies)
Credit: ESO/L. Calçada
MICADO
(e.g. Black Holes)
Credit: ESO/L. Calçada
Phasing and
Diagnostics Station
MOSAIC
MAVIS
ANDES
Blue MUSE
FORS-Up
8 Detectors
7 Detectors
9 Detectors
VLT Survey Telescope
Credit: ESO/Y.Beletsky
CUBES

## Slide 7: Detectors
27
26
3
1
CMOS
CCD
GEOSNAP
Circle area proportional to total number of detectors
40
2024
2020
2020
2024
2020 | 2024

## Slide 8: CCD + GEOSNAP Development Update
CCD Systems
All modules ready as prototypes
Integration test with CCD detector ongoing
GEOSNAP System
Fully digital detector @ 1.6Gbps
Currently developing firmware
Integration testing Q1, 2025
Eye diagram with connector and cable @1.6Gbps

## Slide 9: CMOS System Finalized
HAWAII-2RG
Engineering Grade
Detector

## Slide 10: CMOS System Finalized
HAWAII-2RG fast mode noise is detector limited as for NGC1.
HAWAII-2RG slow mode achieving noise levels not seen before at <10e− for simple CDS.

## Slide 11: CMOS System Finalized
HAWAII-2RG running at 30fps without observable hot-pixel trailing

## Slide 12: CMOS System Production
  COTS Components available for ~25 systems
    Will procure:
    6-Slot shelves (Req. ESO-394252)
    Zynq US+ FPGA Modules D1.2 (Req. ESO-393209)
  ESO designed CMOS modules in pre-series
    Fully functional
    Still missing environmental test
    Fully tested by manufacturing company
    Enough for ~10 systems

## Slide 13: Design Quality Measures in Workflow
Payungkead - Flaticon
xnimrodx - Flaticon
Payungkead - Flaticon
Freepik - Flaticon
1
2
Four-eye reviewed Altium libraries
Hardware Design
On-site Gitlab Server
Build Server
Build Artifacts and GIT Snapshot to Document Archive
3
4
  Creates Gerbers, PDFs, BOMs
  Performs independent DRC+ERC check
  Performs BOM sanity check
  Validates data sources
  Calculates estimate for MTBF according to modified MIL-HDBK-217F

## Slide 14: Firmware and Software
Several identical AMC modules:
Position unknown
Ideally access to GA through MMC
Standardize an MMC interface?
  GA
  RTM Enable
  Temperature Sensors
CMOS AQ22 RTM
CMOS AQ22 RTM
CMOS AQ22 RTM
AQ22 AMC
AQ22 AMC
AQ22 AMC
Host Controller
IOxOS IFC1414
CMOS C20B20 RTM
MCH

## Slide 15
Questions and Answers
Image Credit: ESO/S. Brunier

## Slide 16
@ESOAstronomy
@esoastronomy
@ESO
european-southern-observatory
@ESOobservatory
Mathias Richerzhagen
Matthias Seidel
Max Engelhardt
Alexander Rüde