## Slide 1: Test-beam 2025
Wolfgang Lohmann
Proposals for data taking

## Slide 2: Test-beam 2025
ECAL configuration
Instrumented
towers
At the beginning of each run:
Pedestals
A few 10k raw data
Telescope checks

## Slide 3: Test-beam 2025
Only standard tungsten plates
3 runs at 3 impact points, beam perpendicular
x × 106 trigger

## Slide 4: Test-beam 2025
Only standard tungsten plates
2 runs at 2 impact points, beam inclined (angle to be defined)
x × 106 trigger

## Slide 5: Test-beam 2025
With 9 additional tungsten plates
3 runs at 3 impact points, beam perpendicular
x × 106 trigger

## Slide 6: Test-beam 2025
With 9 additional tungsten plates
2 runs at 2 impact points, beam inclined (angle to be defined)
x × 106 trigger

## Slide 7: Test-beam 2025
Additional studies
Leakage
With standard tungsten plates and with additional plates
2 runs at 2 impact points, beam perpendicular
x × 106 trigger

## Slide 8: Test-beam 2025
Additional studies
Raw data
With standard tungsten plates
2 runs at 2 impact points, beam perpendicular
x × 106 trigger