## Slide 1: OPAL-FEL
Laser pulse shaping
Denis Ilia
21/07/2025

## Slide 2: The laser system
DFG Cross-correlator
NEPAL
Front-end
Oscillator
Power amplifier
FH generation
SHG
SHG
UV pulse
Solid state amplifier
Solid state amplifier
Waveshaper
Fiber amplifier
Reference IR
150 fs pulses
Streak
Camera
Camera
Flip-mirror
Flip-mirror
Beam to BSA and Photocathode

## Slide 3: A differentiable model of (our) laser
A new approach for pulse shaping
Implementation of a differentiable laser model:
  Requires implementation of laser physics by differentiable programming.
  Allows for optimization of any user-defined target function
  Can be expanded and adapted for more simulations
Differentiable model
Filter settings
Output pulse
Example of Pulse shaping:

## Slide 4: The simulation toolkit
A differentiable-programmed pulse propagation package
    Current physics implemented:
    NLSE for pulse propagation (1D)
    Rate equations for steady-state fiber amplifier
    Coupled equations for SHG process (2D)
Laser system Module
Fiber Module
Passive fiber
, , , ,
, , , ,
Fiber Amplifier Module
Fiber amplifier
, , , ,, ,
, , , ,, ,
Loss block
Filter module
Learnable parameter
Simulation block
Trainable module
SHG Module
SHG process
New !

## Slide 5: A differentiable model of NEPAL laser
NEPAL Front-end composed by modules
Laser system Module
Module N-1
Module …
Module 2
Module 1
Module N
Output pulse
Input pulse

## Slide 6: A differentiable model of NEPAL laser
Forward pass

## Slide 7: A differentiable model of NEPAL laser
Backward pass
Differentiable model
Filter settings
Output pulse

## Slide 8: Adapting to real systems
Gradient-based feedback
Laser system
Differentiable laser model
Model tuning
Filter tuning
Training data pairs for local model tuning
Measured intensity profile :
Programmable filter setting :
Model predicted intensity profile :
Target intensity profile :
Model tunable parameters :
at nth iteration

## Slide 9: A simple experiment
Gradient-based feedback run on a “sandbox” laser

## Slide 10: Including SHG processes
Computational challenges
From 1D to 2D:
  points
Memory footprint ↑
Computation time ↑
Optimization landscape more complicated

## Slide 11: A differentiable model of NEPAL laser with FHG
Backward pass
Differentiable model
Filter settings
Output pulse

## Slide 12: Conclusion
So far…
Developed a toolkit for differentiable fiber simulations + SHG processes.
Implemented a differentiable model of NEPAL (partially).
Tested gradient-based feedback on a sandbox NEPAL system.
Next steps
Complete implementation and validation of modules.
Improve performances of algorithm on sandbox system.
Use the gradient-based feedback algorithm on NEPAL systems.

## Slide 13: Thank you

## Slide 14: Extra
Feedback with fhg