## Slide 1: Test Beam 2025
Gap Analysis
8 Decembe 2025
Ben Talmor

## Slide 2
Relation between X position and energy measurement in Gap
Correct the energy loss to determine the full deposited energy of the particle
Properties
Channel size –
Distance between channels –
Gap size (Distance between towers) – 2 [mm]
Motivation

## Slide 3: Contents
Telescope and Dead Channels Reconstruction
Gap Data Loss

## Slide 4: Dead Channel reconstruction
Run 1093 (8 XO)
Plane 4
Channel (5,5) = 105

## Slide 5: Energy deposition histogram plane 4, channel 105
Log Scale
normal Scale

## Slide 6: Origin – reconstructed histo
Normal Scale
Log Scale

## Slide 7: Roni’s results run 1340 11 layers of XO

## Slide 8: Run 1081 8 layers of XO
Average shower energy for telescope
Amount of hits per pad in the first plane

## Slide 9: Dead channels run 1081

## Slide 10: Energy lost around the gap
Type equation here.

## Slide 11: Overlook
  Apply pad correction to data
  Check the drop in energy for various runs

## Slide 12: Thank you!