## Slide 1: Detector Technology Project (DTP)
J-PARC
ATLAS
Belle
ILC
12GeVPS
TRISTAN
Pixel technology
2D gas detector
New photon detector
Liquid TPC
Cryogenic detector
DAQ
ASIC
Mechatronics
Cryogenics
IMSS
Material Science
Detector Technology is a basic strength for every research activity.
Horizontal activities among the projects
KEKDTP for Innovative Particle Detector is one of the keys to the future of KEK.
1970-2000

## Slide 2: Detector development for J-Parc(Neutrino) and LC programs

## Slide 3: Detector R&Ds for T2K and beyond
For the T2K experiment, we have done a lot of R&D works.
  Photo-sensor (Multi Pixel Photon Counter, MPPCs) + scintillators
  All of detectors are worked very stably after the installations (2009-2010), and produced lots of physics outputs.
MPPC (PPD)
  T2K was the first experiment to use large number of MPPCs (~55000ch)
  Main features of the T2K MPPC
    Number of pixels ; 667
    Active area ; 1.3x1.3 mm2
    Pixel size ; 50x50 mm2
    Operation Voltage; 68-71V
    Typical Gain ; 106
    Photon detection eff. (@525nm) ; 25-30%
    Dark rate (@ 0.5pe thresh @25deg) ; <1.35MHz
MPPCs are used for
  On-axis detector (INGRID) ~10000ch
  Pi0 detector (P0D) ~10000ch
  Fine Grain Det. (FGD) ~8500ch
  Electromagnetic calorimeter ~22000ch
  Side Muon Range Detector ~4000ch

## Slide 4: Detector R&Ds in T2K and beyond (2)
As a future detector R&D, the liquid argon TPC detector R&D has been performed for four years.
  0.4 ton detector prototype test was done so far
  Goal: 100kton detector.
LArTPC activity (J.Phys.Conf.Ser.308:012008,2011 )
  0.4 ton prototype is working
  0.3 ppb (O2 equivalent purity) was already achieved.
  Cockcroft-Walton HV system supply 33kV to cathode.
  Using well defined charged particles, we tested the detector performance (paper is ready)

## Slide 5: Collaboration on ILC Calorimeter R&D
PFA calorimeter: O(10M) of small sensors for a precise ILC physics.
Scintillator ECAL R&D : in CALICE for ILD
  Shinshu U. – Kobe U. – Tsukuba U. : MPPC
  Kyungpook Nat. U. : Extruded Scintillator
KNU
Scintilator
MPPC
Scintillator
Extruder
a typical multi-jet event
Mega-channel system with ILC performance and low cost

## Slide 6: Calorimeter Beam Tests
A series of at DESY, KEK, FNAL
Strip: 4.5x1x0.3cm3
~2k strips & MPPCs
A new test in preparation
  integrated electronics
  hybrid of Silicon and Scintillator sensors
absorber
sensor
readout
p0
Mgg

## Slide 7: Collaboration on ILC TPC
LCTPC : Testing TPC performance in non-uniform B field, long drift, …
DESY beam tests (2009-2011)
PCMAG(1T, ~60cm drift)
80cmf
~ 10k readout
TPC Concept
Typical Event

## Slide 8: FPCCD (Fine Pitch CCD) for ILC R&D goal
FPCCD sensors
  Pixel size; 6um
  Chip size;1cmx6.5cm
  Speed >10Mpix/s
  F.W.C. > 10000 e(?)
  Power <10mW/ch
  Rad. Tolerance >1x1013e/cm2 (=1x1012/cm2/y x 3y x safety factor 3)
Readout ASIC
  Speed > 10Mpix/s
  Power < 6mW/ch
  Noise < 30 electrons
Peripheral circuit
  Clock driver
  Data suppression
  Etc.
Engineering R&D
  Over-all design
  Low-mass ladder
  Cooling system (~-40℃)
  Support structure
  Engineering prototype
Software tools
  Track reconstruction
  Cluster shape analysis

## Slide 9: Sensor R&D
FPCCD prototype-3
  Pixel size：12, 9.6, 8, 6mm
  12, 9.6, and 8mm pixels work, but 6mm pixels do not work at all
12mm 9.6mm 8mm 6mm

## Slide 10: Sensor R&D
FPCCD prototype-4
  Same parameters as prototype-3
  Improvement of potential profile based on device simulator
  x2 improvement of the depth of the potential well is expected
  6mm pixel works, but not properly
FPCCD prototype-5 (to be delivered FY2012)
  First large size (~1cmx6cm) prototype
  Horizontal shift register for 6mm pixel has a size of 6mmx12mm to improve full-well capacity and to decrease resistance of gate line
  Multiple wire for gate: Many bonding pads along the longer side of the chip

## Slide 11: Wafer thinning
50mm thick prototype
  Thinned by mechanical grinding
  Dicing by “stealth dicing” technology
  No increase of dark current was observed
  Sag ~0.3 -- 0.7 mm over 60mm
60mmx9.7mmx50mm
Before expansion
After expansion

## Slide 12: CO2 cooling system
CO2 collaboration in Japan
  ILC VTX, ILC TPC, Belle-II VTX, and KEK cryogenic group
  We constructed “blow system” and temperature was successfully controlled between -40 and +15 degrees

## Slide 13: CO2 cooling system

## Slide 14: ASIC R&D
ASIC Prototype
  Amp, LPF, CDS, ADC, LVDS driver
  Charge-sharing successive approximation register array ADC  Low power consumption and medium speed
  Alternative operation of two 5MHz ADCs  10MHz readout speed
  8-channel/chip
Evaluation of prototype ASICs
  Test system at Tohoku Univ.
    SiTCP, DAQ-middleware
  Expected performance is not achieved
   Improved prototype in FY2009-2010

## Slide 15: KEK Detector Technology Project

## Slide 16
KEK : international frontier research institute
employing accelerators to explore
universe, elementary particles, nuclei, matters and life
IPNS
Particle physics
Nuclear physics
IMSS
Material science
Life Science
Acc. Lab.
Construction&
operation
R&D for future acc.
Applied Research Lab
Radiation safety
Computing
Cryogenics
Mech. Enginnering
Detector TP

## Slide 17: The most advanced radiation detector: SOI pixel
17
No mechanical bump bondings -> High Density, thin material -> Low parasitic Capacitance
Standard CMOS circuits can be built
No Latch Up, Small SEE Cross section.
Based on Industrial standard technology
Monolithic detector using Bonded wafer (SOI : Silicon-on-Insulator) of Hi-R and Low-R Si layers.

## Slide 19: Steady growth
17x17 mm, 512x832 (~430k）pixels

## Slide 20
INTPIX5
12.2 mm x 18.4 mm
896 x 1408 pixels
1.3 Mega Pixels!
2012
Finer pitch also
in progress
17 x 17 um2
12 x 12 um2
8 x 8 um2

## Slide 21
Pixel
Mask Layout
Exposed Layout
Toward further large aperture
~66 mm
~30 mm

## Slide 22: High precision X-ray imaging

## Slide 23
5mm
SOI pixel sensor
High precision
X-ray imaging
X ray
from Quantum beam

## Slide 24
Bubble chamber?
No! Digital Emulsion!

## Slide 25
Excellent Energy Resolution for Astronomy
Kyoto Univ.
Cu Ka and Kb is separated
Noise ~ 23e-

## Slide 26
Wafer Thinning (TAIKO process)
Back side process still can be done after thinning.

## Slide 27
Good S/N for MIP in the full size pixel sensor thinned to 50mm (CZ)
Beam test at CERN with the 50um thick sensor

## Slide 28
Should be better after proper clustering
Preliminary

## Slide 29
MPW (Multi Project Wafer) run hosted by KEK (twice a year)
Louvain-la-Neuve Univ.
INP Krakow
U. Heidelberg
IHEP China
U. of Hawaii
U. Tohoku
Kyoto Univ.
Tsukuba Univ.
JAXA/ISAS
AIST

## Slide 30
Next SOI MPW run Plan
1st MPW run : ~End of June
2nd MPW run : ~Middle of December
Please Join These MPW runs!

## Slide 31: Wireless gas detector MPGD and its applications
Large area imaging for neutron/Xray

## Slide 32: Neutron imaging with MPGD

## Slide 33
Neutron beam reveals a hidden
stress in the material.

## Slide 34
診断用 放射線源
ガンマ線
Precise diagnositics with precision gamma camera
Point
a tiny
Indication
Gold plated MPGD

## Slide 35: Development toward new structure/fabrication
New type MicroMegas
New type GEM with
resistive material
Cu
PI
Conductive
PI or other
Conducting
polymers

## Slide 36: QPIX for advanced pixel electronics
200mm
200mm
5mm
5mm
Circuit part
Pad for bump-bonding
Pad for charge collection
400 pixels
Detection area : 16 mm2 (64% of chip area)

## Slide 37: QPIX test with neon beam (TIARA)

## Slide 39: Super Conducting Detector (SCD) for CMB camera, neutrino decay observation..

## Slide 40: STJ and MKIDs device fab. In KEKDTP clean room
KEKDTP
m device
Clean Rm.

## Slide 41: SiTCP and RTmiddleware New Generation DAQ scheme
Distributed network DAQ with SiTCP and DAQ-middleware.
Being “standard” system in the J-Parc neutron beam lines.
working
preparing

## Slide 42: KEKDTP others
Liquid Xenon/Argon TPC application  n future huge exp.
  DM search, Neutrino detector, PET ……
Advanced Photon sensor  MPPC in T2K
Ultra fast pixel for SRF  Kishimoto’s report

## Slide 43: KEKDTP activities
Project | Leader | Abstract
MPGD | S. Uno | Application of MPGD to neutron or X ray detection
SOI pixel | Y. Arai | Silicon On Insulator technology for the next generation pixel sensor
Photon sensor | K. Yoshimura | MPPC application
ASIC | M. Tanaka | Development of pixel readout chip with high functionality to match TimePix of CERN
Liquid TPC | T. Haruyama | Development of technology necessary for liquid noble gas TPC for DM detection , large n detector or PET
SCD | M. Hazumi | Super conducting technology for ultra high sensitive radiation sensors
FPIX | S. Kishimoto | Array of APD pixels for high speed X ray measurement
CO2 cooling | K. Fujii | R&D for the new generation detector cooling system