## Sheet1
|  | 2005 | 2012 | Allocated Funds in 2005 units
Total Budget: |  | 6044 | 6942.6562
Previous Spending ( - 2011, everything incl. FTEs)
FTEs ((FY2012-2015)
Scientific Instrument
Generous Donation to WP76 |  | 4.3528 | 5
remaining
X-Ray Hutch |  | 348.2241 | 400
X-Ray Hutch Interlocks, utilities |  | 313.4017 | 360
Laser Hutch Interlocks |  | 43.528 | 50
X-Ray Hutch interior |  | 21.764 | 25
Ctrl Room |  | 100.1144 | 115
Ctrl Room Interior |  | 24.9851 | 28.7
Cables (+special plugs) |  | 315.1428 | 362
Controls (Beckhoff + more) |  | 152.348 | 175
Computing, Interface, Data Storage |  | 0 | 0
Programming of controls + DAQ * | 2000 hrs (I use 36 €/hr) | 68.9484 | 79.2
R&D |  | 174.112 | 200
XHQ lab spending (instrument lab + more) |  | 95.7616 | 110
Total to be spent |  | 1658.3301 | 1904.9
Total “remaining”
* = uncertain guesses
Itemization
X-Ray Hutch | (< 250 m2 x 19mm Pb, including hutch door (FXE). Estimate based on P01 hutch (3-30 keV)) | 348.2241 | 400
X-Ray Hutch Interlocks, utilities |  | 313.4017 | 360 | 50 | WP34, Air conditioning)
Water + piping |  | 17.4112 | 20
Gas bottle and gas line infrastructure |  | 17.4112 | 20
Air conditioning |  | 174.112 | 200
Water cooling + pipes |  | 43.528 | 50
Electricity, lighting, related utilities |  | 43.528 | 50
Cable trays, chicanes (through hutch wall) |  | 17.4112 | 20
Experiment interlock |  |  | 60 | 60 | WP 38, Interlocks)
X-Ray + Laser Hutch Interlocks, utilities |  | 43.528 | 50
E.g., the one with those silly photodiodes (DESY-style)
All those safety boxes around laser+FEL safety
X-Ray Hutch interior |  | 21.764 | 25
Toolbox, BNC cables, mechanical parts |  | 4.3528 | 5
Work Bench(es) |  | 4.3528 | 5
Cabinet(s) |  | 8.7056 | 10
Video cameras/Web cams (not sample-related) |  | 4.3528 | 5
Ctrl Room |  | 100.1144 | 115
Hutch |  | 26.1168 | 30
Electricity |  | 26.1168 | 30
Lighting |  | 4.3528 | 5
Air conditioning/Ventilation |  | 43.528 | 50
Acoustic insolation
Ctrl Room Interior |  | 24.9851 | 28.7
10-15 Chairs |  | 13.0584 | 15
10m2 Tables |  | 1.7411 | 2
10 50’’ Flatsccreens |  | 8.7056 | 10
Water cooler (drinking water) |  | 0.17411 | 0.2
Coffee machine and free coffee supply |  | 0.43528 | 0.5
5 Whiteboards |  | 0.87056 | 1
Cables (+special plugs) |  | 315.1428 | 362
1000 m type x | 20€/m | 17.4112 | 20
2000 m type y |  | 34.8224 | 40
400 plugs | 30 € per plug | 10.4467 | 12
15 CY racks | 6k€ per rack | 78.3504 | 90
200 uTCA crates | 1k€ per crate | 174.112 | 200
Controls (Beckhoff+more) |  | 152.348 | 175
250 Beckhoffs | 0.5 k€/axis | 108.82 | 125
100 others? | 0.5 k€/axis | 43.528 | 50
Computing, Interface, Data Storage | I think this is all allocated in WP76 but I need to check | 0 | 0
Fast data lines
50 Tbyte local storage
10 PByte total instrument storage
Programming of controls + DAQ * … |  | 68.9484 | 79.2
Trigger definition and masterclocking | 100 hrs (I think this is underestimated by a factor 2. I use my numbers and 36 €/hr) |  | 7.2
Motor control interfacing to beamline controls | 500 hrs (I think this is underestimated by a factor 2) |  | 36
Advanced instrument programming and control work | 500 hrs (I think this is underestimated by a factor 2) |  | 36
R&D |  | 174.112 | 200
XHQ lab spending (instrument lab + more) |  | 95.7616 | 110
Toolbox, BNC cables, mechanical parts |  | 17.4112 | 20
Work Bench(es) |  | 17.4112 | 20
Cabinet(s) |  | 17.4112 | 20
Extra instrument-science related items |  | 43.528 | 50