## Slide 1: Special RTMS: DRTM_KLM & DRTM_HOM
Samer Bou Habib
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: Agenda
Introduction
DRTM-KLM
DRTM-HOM
2013.02.20 Otwock, Poland
Samer Bou Habib, ISE-WUT

## Slide 3: Introduction
MTCA.4 RTMs
Z3 Analog Class A1.1 Compatible
Mainly paired with DAMC-DS800

## Slide 4: DRTM-KLM
12-bit Fast ADCs (DS800) @ 780 MSPS
  6 RF Channels @ 1.3GHz
  2 DC Channels
2 „Fast” signals with low resolution requirements
2 „Slow” signals

## Slide 5: DRTM-KLM
RF1
..
..
RF8
REF (RF-backplane)
6
8
PLL
+Distribution
RF Channel
RF Channel
RF Channel
RF Channel
RF Channel
RF Channel
DC Channel
DC Channel
„Slow „DC Channel
„Slow” DC Channel
Fast Channel
Fast Channel
~200MSPS 8-bit
10MSPS 16-bit
FPGA
RF- Gate

## Slide 6: KLM - Timeline
June(July?)
May
April
March
Concept and schematics (Major Part done)
Routing
Production
Tests

## Slide 7: DRTM-KLM
RF1
..
..
RF8
REF (RF-backplane)
6
8
PLL
+Distribution
RF Channel
RF Channel
RF Channel
RF Channel
RF Channel
RF Channel
DC Channel
DC Channel
„Slow „DC Channel
„Slow” DC Channel
Fast Channel
Fast Channel
~200MSPS 8-bit
10MSPS 16-bit
FPGA
RF- Gate

## Slide 8: DRTM-HOM
8 Channels
1.3, 1.7 and 2.4 GHz each

## Slide 9: DRTM-HOM
RF1
..
..
RF8
REF (RF-backplane)
REF FP
HOM FILTER
HOM FILTER
HOM FILTER
6
8
HOM FILTER
PLL
+Distribution
CLK out

## Slide 10: HOM Filter Design
IN
OUT
Attenuator
VIA
2.4 GHz
1.7 GHz
1.3 GHz

## Slide 11: HOM Filter Design
f1=1300 MHz, BW=37 MHz (at RL=-20 dB), IL0=4 dB, n=4 stripline, substrate height 0.204 mm, size 35x35 mm
f2=1700 MHz, BW=55 MHz (at RL=-20 dB), IL0=4.5 dB, n=4 microstrip, substrate height 0.204 mm, size 45x35 mm
f3=2400 MHz, BW=74 MHz (at RL=-20 dB), IL0=4 dB, n=4 microstrip, substrate height h1=0.204 mm, h2=0.25 mm size 45x25 mm
(2 and 3 together on the same layer) size 45x60 mm
all filters (2 and 3 up, 1 down) size needed 55x70 mm - (max)

## Slide 12: HOM Filter Characteristics

## Slide 13: HOM - Timeline
August
June - July
April - May
March
Test Filter project Preparation
Production and tests
RTM routing
Production and Tests of RTM

## Slide 14
Thank you for your attention
S.BouHabib@stud.elka.pw.edu.pl