## Slide 1: The New XFEL and FLASH Timing System
Clock and Triggers
Bunch Synchronized Readout
Hardware
Software
Kay Rehlich
19. March 2013

## Slide 2: Timing and Data Acquisition Concept
ADC
ADC
ADC
Δφ
Δφ
Δφ
Clock
Trigger
Event Number + Trigger
DAQ
Buffer
Buffer
Buffer
Buffer
FLASH / XFEL
Fast Collector
Buffer Manager
Other
Server
Orbit Server
Energy Server
Feedback Server
Console Applications: access to all components
Timing System

## Slide 3: FLASH2 -- XFEL
1st BC
2nd BC
FLASH2
Gun
ACC1 ACC39
ACC23
ACC45 ACC67
sFLASH
SASE
~4.1 – 44 nm
EXP. Hall
FLASH1
SASE
~4 – 60 nm
L3
L2
L1
I1
I2
BC 0
BC 1
BC 2
SASE 1
SASE 2
SASE 4
SASE 3
SASE 5
XFEL
Keeping Hardware and
Software Compatible …

## Slide 4: Bunches in XFEL
The XFEL can produce 27 000 bunches per second
100 ms
0.6 ms
<= 2700 bunches in main linac
bunches in experiment B
bunches in experiment A

## Slide 5: New Timing System for XFEL and FLASH
9.028 MHZ as the base frequency:
Bunch spacing >= 1 / 4.5MHz
1 or 3 MHz bunch spacing are possible
FLASH compatibility
MO
Divider
Timing Events &
Pattern Table
Sender
50 Hz
mains
Event & Pattern
Receiver
Sync.
Trigger
1.3GHz
MPS
FLASH
XFEL
1 MHz
Transmitter
Receiver
100.3kHz
50 Hz
÷ 26 000 000
÷ 12 960
fmax = 4.5MHz
Bunch
Pattern
Divider
delay
delay
Clocks
L = const.
(÷12) 108.333 MHz
(÷288) 4.514 MHz
(÷144) 9.028 MHz
...

## Slide 6: Trigger Distribution
Laser1
ADC sampling time
A2
A6
t0
External Start 10Hz
Central Delay
Local Delay
Bunches from laser 1
Laser Oscillator
Global Events
Gun
HV Gun Klystron
LLRF Gun
Laser2
A2
E6
Bunches from laser 2
Laser Oscillator
A6
Kicker
700 µs
2.7 ms

## Slide 7: 32 Bit Bunch Pattern Defines Every Bunch
Charge: Alternative:
No bunch No bunch
Low: < 0.1 nC < 0.125 nC
0.1 – 1 nC 0.125 – 0.25 nC
High: > 1 nC 0.25 – 0.5 nC
TBD 0.5 – 1 nC
TBD 1 – 2 nC
TBD > 2 nC
TBD free
-
1. Laser
2. Laser
3. Laser
XFEL:
TDS Inj
TDS BC1
TDS BC2
Wire Scanner
Photon line deflection (mirror in)
! Charge ranges: To be changed !
FLASH:
-
-
LOLA
Wire Scanner
FLASH:
-
-
FLASH 3 e-
FLASH 2 e-
FLASH 1 e-
-
XFEL:
SASE 5 special mode
SASE 4 special mode
SASE 3 special mode
SASE 2 e-
SASE 1 e-
Main dump
‘Distortions’ to ignore
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Slide 8: Section Pattern for XFEL and FLASH (MPS)
1st BC
2nd BC
FLASH2
Gun
ACC1 ACC39
ACC23
ACC45 ACC67
sFLASH
SASE
~4.1 – 44 nm
EXP. Hall
FLASH1
SASE
~4 – 60 nm
L3
L2
L1
I1
I2
BC 0
BC 1
BC 2
SASE 1
SASE 2
SASE 4
SASE 3
XFEL
P-FLASH
FLASH 3
SASE 6++
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
SASE 5
SASE 3-5:
e.g. “fresh bunch mode”

## Slide 9: Beam Modes: max. # of Bunches in Section, 32 bit Word (MPS)
1 | S | M | F | 1 | S | M | F | 1 | S | M | F | 1 | S | M | F | 1 | S | M | F | 1 | S | M | F | - | - | - | - | - | - | - | -
FLASH2
FLASH1
L3
L2
L1
I1
I2
BC 0
BC 1
BC 2
SASE 1
SASE 2
SASE 4
SASE 3
SASE 5
XFEL
1 | Single
S | <= 30
M | <= 300 / 500
F | Full
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Slide 10: Timing System With Restrictions by MPS
_ Inj 2 _
SASE xx
…
Corrected
Pattern is
Distributed
Section permit
From MPS
Calc. tot charge in linac
Max charge
< ?
Calc. tot charge in FLASH2/SASE2
Max charge
< ?
Calc. tot charge in FLASH1/SASE1
Max charge
< ?
1 | S | M | F | 1 | S | M | F | 1 | S | M | F | 1 | S | M | F | 1 | S | M | F | 1 | S | M | F | - | - | - | - | - | - | - | -
Max # bunches in section
From MPS
…
Ignored bunches
Bunch delivery
Source + charge
0
1
2
7198
7199
Pattern Request by
Operator

## Slide 11: Example: 4 Bunches in FLASH1, 2 in FLASH2
FLASH1
FLASH2
…
…
…
…
Bunch
200 pC
8 *
No bunch
Kicker gap
700 µs
1364.6 µs
1 MHz
0.5 MHz
5972 *
No bunch
…
…
Bunch
50 pC
8 *
No bunch
1212 *
No bunch
Length of pattern table = 7222
= 800µs*1300MHz/144

## Slide 12: The New Timing System for FLASH
All MicroTCA systems will connect to the new system
VME remains on old 9 MHz timing
First step (shown):
Old system is master.
Second step:
New timing is master

## Slide 13: Features of the New Timing
More outputs, more functions, better resolution
Distributes bunch patterns
Fiber optical distribution
Based on 1.3 GHz (old 9.028 MHz)
Less jitter
Trigger and clock distribution on backplane

## Slide 14: New Timing Module
Transmitter
Piggyback
IN OUT OUT OUT
Fiber optics
2 * Trigger out
1 * Clock out
RJ45
LVDS
2 * Trigger out
1 * Clock out
2 * Trigger out
1 * Clock out
4 * General I/O
Optional RTM:
9 transmitters,
Further triggers or clocks
MicroTCA backplane:
TCLKA and TCLKB,
8 * M-LVDS

## Slide 15: Timing AMC Block Diagram

## Slide 16: FPGA Handles Triggers and Tables
Event select
=
Delay
Width
Event select
=
Delay
Width
Event select
=
Delay
Width
Event select
=
Delay
Width
Event select
=
Delay
Width
4*SFP
Clk, Trig
Event select
=
Delay
Delay &
Width
Event select
=
Delay
Width
Event select
=
Delay
Width
Event select
=
Delay
Width
Event select
=
Delay
Width
Event select
=
Delay
Width
Event select
=
Delay
Delay &
Width
M-LVDS Bus
Clk, Trig
Clk, Trig
Transmitter-Receiver Delay
Position [sec]
Up-Counter
Sync
108 MHz
Event
Event delay 32 bit
Data of the Encoded Event Trigger
Timing
Event
Receiver
Table of
Pattern Generator
evt
=
Delay
de
FSM &
Distribution
RJ45
TrigBlk
TrigBlk
TrigBlk
Delay measurement
Abs time in µs
evt
Delay
PCIe IRQ
Pattern (table), MacroPulse #,
Stand-alone or receiver
RTM connector

## Slide 17: Timing: One Channel (out of 22) Block Diagram
Front Clk, Trig
Event select
=
Delay
Delay
Transmitter-Receiver Delay
Position [sec]
Up-Counter
Sync
108 MHz
Event
Event delay 32 bit
Data of the Encoded Event Trigger
FSM &
Distribution
Pattern (table), Event#, …
Width
Fine delay
2 * 540 MHz
CMD
108 MHz
TrigBlk
=
CMD decode
Location Pattern 32 bit
Delay 24bit
Width 24bit
Fine Delay 10 bit
MLVDS
Control/Status-Reg
Register with local PCIe access
RTM
Ext Divider
Global UART 115 kbaud
108 MHz
Ch. select
Gate
clock
data
Global fast data link
Global Sync
Local bunch select
Delayed table index
Divider, PLL

## Slide 18: Controlling the Injector Laser
Pockels cell,
AOM
New Timing Receiver
Timing Master
MO 1.3 GHz
13.542 MHz
108.33 MHz
Bunch Pattern
Trigger
Triggers
MPS
Shutter
Reset
φ
fast FB
Inhibit FLASH 1
FLASH 2
Shutter
Example layout
of a laser
FPGA: Laser Output Controller
µTCA
Divider

## Slide 19: Example: Timing Connections within a MicroTCA Crate
FPGA
FPGA
CPU
Timing
TPS
FPGA
LLRF
Central Timing
1.3GHz
Ethernet
MPS
PCIe
Ethernet
Clock
MCH
Interlocks
Trigger & Gates
Clock & Data
Timing
Receiver
DAMC 2
DAMC 2
RTM
Interlocks Device status
CPU
Backplane
RTM
Pre-Amp
Toroid Protection System
ADC
upstream
downstream
MPS link
µTCA Crate

## Slide 20: LLRF with different Settings FLASH 1 / 2 / 3
FLASH1
FLASH2
FLASH3
FLASH1
FLASH2
FLASH3
RF response
Requested RF Pulse shape

## Slide 21: Gun Control Panel
FLASH 1 FLASH 2

## Slide 22: New Software for MicroTCA
x1timer or x2timer
SIS8300
SIS8300
Driver
Driver
Timing
Server
SIS8300 server .
Toroid Server
Linux
Driver
Dev node
DOOCS
Device Server
DOOCS
Function
Server
AMC
loc1
Loc 1
Loc N
. . .
. . .
DAQ
DAQ
s4
s5
s11
Ethernet
Toroid 1
MicroTCA
Toroid M
…
0MQ
Messaging
DAQ
sender
DAQ
Bunch pos
MacroP
info

## Slide 23: Toroid Front-end Software
SIS8300
Driver
SIS8300 DMA server
Toroid Server
Loc 1
DAQ
s5
Toroid 1
Ethernet
SAMPLE_FREQ = e.g. 108,3 MHz
<pre_samples> = PRE_BUNCH_TIME * SAMPLE_FREQ
700µs - <pre_samples> / SAMPLE_FREQ
Hardware
Trigger
First possible bunch: 700 µs
Bunch_inc : SAMPLE_FREQ * 144 / 1300 * 9MHZ_DIV [samples]
Bold text: property
9MHZ_DIV = 9, 3, 2 ,1  1, 3, 4.5, 9 MHz bunch rate
N_before_first = int (pre_samples / Bunch_inc )
Spectrum parameters:
Offset = 700 – N_before_first * Bunch_inc / SAMPLE_FREQ
Inc. = Bunch_inc / SAMPLE_FREQ
SAMPLE.FLASH1 = N_before_first + IDX.1 / 9MHZ_DIV
SAMPLE.FLASH2 = N_before_first + IDX.2 / 9MHZ_DIV
Header: sample_freq
pre_samples
Data: length
samples[length]
IDX.1
IDX.2
From timing
From timing
History [FLASH1]

## Slide 24: Main Timing Server
Main Timing Server
DAQ
Calc table from properties
Data to DAQ:
Bunch Pattern, MacroPulseNumber, ShotID, Time, BeamMode,
Section Pattern, First and Last Bunch Position of Beam Lines
Property |  | Description
FIRST_BUNCH_INDEX.1/2 | int | 1. Bunch of FLASH 1/2 in pattern table
FIRST_BUNCH_POSITION.1/2 | float | 1. Bunch FLASH 1/2 in µs
LAST_BUNCH_POSITION.1/2 | float | Last Bunch FLASH 1 in µs
ENABLE.1/2 | int | Single bit to enable bunches in FLASH1/2
NUMBER_BUNCHES.1/2 | int | Fills the number of bunches into the table
REP_RATE.1/2 | int | Repetition rate of the bunches (enum)
CHARGE_RANGE.1/2 | int | Charge range filled into table (enum)
LASER_SELECT.1/2 | int | Selected laser for bunches in FLASH1/2
ORDER_BEAMLINES | int | 0: FLASH1, FLASH2; 1: FLASH2, FLASH1
MACRO_PULSE_NUMBER | int | Unique number
SHOT_ID | Int | ID of the cycle type
BEAM_MODE | Int | Max allowed number of bunches in section
SECTION_PATTERN | Int | Beam permission in sections

## Slide 25: Vielen Dank!
Das Team:
  Attila Hidvégi, Uni Stockholm
  Christian Bohm, Uni Stockholm
  Pattrick Gessler, XFEL
  Holger Kay, MSK
  Arthur Aghababyan, MCS4
  Gevorg Petrosyan, MCS4
  Ludvig Petrosyan, MCS4
  Vahan Petrosyan, MCS4
  Kay Rehlich, MCS4
  Christoph Stechmann, MCS4