## Slide 1: Status of the XHEXP1 from the TC-perspective
G. Wellenreuther
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)

## Slide 2: Activities
CAD integration
  Status of the current hall model.
  Concept: Avoiding previous mistakes where possible.
  Tools + Guidelines
Status: Installations in the experimental hall
  (Pre-)planning of XHEXP1-installation
  Who is doing what? When?

## Slide 3: Current status of the CAD-integration model

## Slide 4: Current status of the CAD-integration model
We do not need / want much more detail on the hall level.

## Slide 5: Instrument, area + hall level models.
Instrument (e.g. SPB)
Area

## Slide 6: Base-Template: Coordinate systems
Ensures everybody uses proper coordinate systems:
Basis of any larger installation assembly.
Has been implemented as an actual template for SE.

## Slide 7: More tools
List of most-important assemblies:
  Contains the basic information required to import any ASM.
  Basis for automatic creation of JTs.
JT vs. SE:
  JT: Ideally suited to the needs of scientists:
    Visualizes large models fast, can move, cut & measure, and no SE-license required, no write-access (!!!!)
  Archived in EDMS  version control, finally!
  2 courses already organized, more to come…
CAD-Guidelines established:
  Nomenclature, rules of good practice, SP-structure…
  Examples of template usage of template, How tos…

## Slide 8: Planning of the installations in the XHEXP1
Currently, Fa. DERU has been entrusted with preplanning
In parallel, gathering requirements for the individual, conflicting installations in the XHEXP1:
  Casting + polishing of final floor  HED-enclosure (almost 1000 t)  Installations by MKK require large platforms…
 Installation of hutches  Cable trays + Racks + GTI
 Cables + DAQ + IT + …
 Radiation / Laser interlocks
 Radiation tests + commissioning

## Slide 9: Current task-list
PP: Preplanning
DP: Detailed Pl.
I: Installation
Still incomplete, still under discussion, top-down.
Enables us to find tasks which have not yet been properly assigned.

## Slide 10: Who is doing what?
Some tasks have not been assigned properly yet.
Who is designing, installing + supporting the actual beamline + vacuum-components (rad. safety shutters!) in the instruments?
  Instruments: Is each instrument supposed to upkeep a vacuum-group of its own? Is this efficient?
  TS / CIE: Should design, install & support, but are a new group and have no technicans to do the actual work, yet.
  XOBT: Has both the experience and some manpower, but have no mandate.
Can we get along without a dedicated vacuum-group at all?
Can the structure TC + TS + CIE + XOBT work?