## Slide 1: Electronics Racks for XFEL LINAC Racks
April 2013
E. Negodin
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: LINAC Rack Layout

## Slide 3: Radiation shielding

## Slide 4: Rack Prototype

## Slide 5: XTL Tunnel Racks Specifications
EDMS: D*1846271
http://edmsdirect.desy.de/edmsdirect/file.jsp?edmsid=1846271
Within the last 6 month we have to update the specifications twice.
Most essential modifications were depth of the cabinet and fire protection attachments

## Slide 6: Racks Inventory

## Slide 8: Kabel Dokumentation System - KDS
Racks Inventory serves as intermediate step to the KDS (Kabel Dokumentation System) and allows us to perform rack administration until KDS will be fully implemented within the frame of XFEL

## Slide 9: Kabel Dokumentation System - KDS

## Slide 10: Other information sources
Excel Tables
XTL overview as Visio-file
Floor slabs and Racks

## Slide 11: TC on the Web
http://xfel.desy.de/tc/electronics_racks/
https://indico.desy.de/conferenceDisplay.py?confId=4841

## Slide 12: TC on the Web

## Slide 13: Open questions
Ordering schedule
We need space to store the cabinets before they can be installed. Where? How much? At what time? How long?
Cabinets must be equipped and tested –> end user groups. Locality? Transport? Personnel?
Cabinets must be transported to the final position –> transport group -> Installation schedule.
Installed cabinets must be plugged to water, power and IT -> Installation schedule.
Racks cabling