## Slide 1: Close-Out BHM
Maria Hempel
Workshop on CMS Beam Conditions, Radiation Monitoring and Luminosity Systems
Zeuthen, 24.4.2013

## Slide 2: BHM Simulations- Stella Orfanelli
Golden location
  Separation of B1 and B2+collision products
  Best location at 68.75ns
Small MIB rates compared to background
high background flux
  Electrons & positrons
  Muons
  Gammas
Reducing the background
  Al shielding
  timing
  Directionality
Open questions are size and material
  Test beams and measurements

## Slide 3: BHM Proposal- Marina Giunta
Many studies are ongoing
  Optical coupling medium
  Magnetic shielding
  HV system
  Cabling (timing of signal)
  Readout systems (HF like readout)
A lumi DAQ is planned
Many test beams are needed
More manpower
VOTE!!!