## Slide 1: Geometrical data of the XTIN/XFEL
WP32
Survey & Alignment
Johannes Prenting
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2
Survey work carried out so far:
  Reference grid: installation and survey done,
  Stake out of reference points for installations : Injector dump set out
  Scan of geometry with 3D laserscan: ready
Photograph:
View from XS1 to XTD2
3D Laserscan:
View from XS1 to XTD2

## Slide 3: Position of beam pipe, wall to XSE:
Displacement is
  4mm lateral (borehole is on right side of the beam)
  15mm in height (borehole is lower than the beam)

## Slide 4: Position of beam pipe, wall to XSE:
Displacement is
  4mm lateral (borehole is on right side of the beam)
  15mm in height (borehole is lower than the beam)

## Slide 5: Position of beam pipe, wall to XSE:
Displacement is
  4mm lateral (borehole is on right side of the beam)
  15mm in height (borehole is lower than the beam)

## Slide 6: 3D point cloud of XTIN1 with horizontal and vertical intersecting planes through beam axis

## Slide 7: Height of the floor [m] resp. to CS LA (blue line, left axis), distance from beam to floor [m] (red line, right axis):

## Slide 8: Webserver with panoramic views soon to come…
XTIN 1

## Slide 9: Webserver with panoramic views soon to come…
XSE