## Slide 1: Precision assembly of back-to-back “2S” modules and Front-to-back Metrology
Lutz Feld
(RWTH Aachen)
PETTL-WP4 Meeting 12. 9. 2013

## Slide 2: Precision Assembly of 2S Modules

## Slide 3: Front-to-back Metrology

## Slide 4
microscope
rotating table
hybrid/module
frame
microscope
focusing stage
focusing stage
rotary stage
Front-to-back Metrology Machine

## Slide 5: Part List
Part | Source | Product | Quantity | Uni Cost | Cost
Rotary Stage | Owis | DRTM 90-D53-HiSM | 1 | 1.600 € | 1.600 €
Controller Rotary Stage | Owis | PS10 | 1 | 200 € | 200 €
Power Supply | Owis |  | 1 | 100 € | 100 €
Focusing Stage | Owis | HV 60-12-MS | 2 |  | 0 €
Microscope Camera | Conrad | 191377-62 | 2 | 100 € | 200 €
 |  |  |  |  | 0 €
 |  |  |  |  | 0 €
 |  |  |  |  | 0 €
Total |  |  |  |  | 2.100 €

## Slide 6: Next Steps
Finish Design of FB Metrology Machine
Build it
Develop Software (LabView Vision)
Determine measurement accuracy