## Slide 1: SVD Sensor Testing Strategy
C. Irmler (HEPHY Vienna)
4th Belle II PXD/SVD Workshop

## Slide 2: Introduction
Discussion about sensor testing / characterization
Aim of this discussion
  Define sensor testing strategy
  Clarify responsibility
  Priorities and milestones / deadlines
  Develop a work plan, incl. manpower
Replace ?? appropriate value, NN by name and DD by a realistic date considering the available manpower
Please add a short note about the conclusion to each discussed topic

## Slide 3: Sensors Types
Hamamatsu (JP)
  Rectangular sensor (L4-L6 barrel part)
    Delivery almost completed (~ 150 sensors in hand)
  Slim rectangular sensor (L3)
    Delivered end of September
  IV, CV, strip-by-strip tests on p-side by HPK
  no strip-by-strip measurements under bias on n-side
    AC testing is done, but no DC tests
    optical inspection
  At least some samples should be tested (incl. n-sides)
Micron (GB)
  Trapezoidal sensors
  60 pieces ordered
  Delivery ongoing, but slow
  Sensor testing is bottle neck at Micron
  New plan:
    IV, CV tests by Micron
    Strip-by-strip measurements by Trieste / HEPHY

## Slide 4: Let’s discuss sensor testing strategy.

## Slide 5: Sensor Testing Strategy
Who can / will perform sensor tests
  HEPHY Vienna, INFN Trieste, KNU?
Available facilities
All delivered Micron sensors have to be tested and characterized
  Selection of “good” sensors to be done by us based on contract with Micron
How many HPK sensors should we test?
  L3 efficiency is important for PXD ROI finder
Who will test HPK sensors?
  KNU; ~1 month for probe card production
  INFN Trieste? Full scan of some sensors suggested; ~1 month for probe card; manpower issue, could start end of November with few sensors
  Cross-check testing between KNU & Trieste by testing same sensors
  Logistics Carnet A.T.A.?
Which tests to be performed? Everything, especially DC strip scan on n-side
Schedule
  Should match with ladder assembly plans!
Start testing with ~2-3 very bad (but production) sensors (large rectangular)

## Slide 6: Thank You!