## Slide 1: Summary RF locking of EO Laser in 28 f

## Slide 2: System Block Diagram
DWC8300
SIS8300-L
FMC20
PZT4
New
  Piezo driver in MTCA.4
  Locking through LLL
Locking BW (spec. 100 kHz) -> latency?
  What is the limiting element?

## Slide 3
Measurement Results
Quick measurements for conference.
Open questions:
  Phase noise (Recent results show better performance)
  Vibration tests
  EMI disturbances
  Board overheating