## Slide 1: Coherent Longitudinal Diagnostic for European XFEL
Peter Peier
Mini-Workshop on Longitudinal Diagnostics for FELs
12. November 2013
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: Contents
Introduction
  Longitudinal Phase Space Overview
  Parameters Space XFEL
Coherent Radiation Diagnostic
  Simulations
  4.5MHz Tests with EO Laser
Summary / Outlook
Notes: Before you start editing the slides of your talk change to the Master Slide view:
Menu button “View” > Slide Master:
Edit the following items:
1. On the Title slide (second master slide)
a) Click to add title of your talk
b) Click to add subtitle (conference, location, name of the speaker, date)
2. On the Slide Master (first master slide)
a) The 1st row in the violet header: Delete the existent text and write the title of your talk into this text field b) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area.
Close Master View

## Slide 3: XFEL

## Slide 4: Longitudinal Parameters of XFEL
20pC | 4.53ps | 1.46ps | 185fs | 5.23fs
100pC | 4.80ps | 1.55ps | 197fs | 11.6fs
250pC | 5.27ps | 1.70ps | 223fs | 25.4fs
500pC | 6.00ps | 1.96ps | 259fs | 43.0fs
1000pC | 6.77ps | 2.23ps | 303fs | 84.0fs
Source: simulations I. Zagorodnov, early 2011
Energy | 130MeV | 600MeV | 2.5GeV | 17.5GeV

## Slide 5: Simulations
IR / THz
window
screen
e-
mirror
detector
filter(s)
analog/digital
electronic
Elegant
Astra
RF Tweak
THz Transport
response
Fourier transform

## Slide 6: Simulations
IR / THz
window
screen
e-
mirror
detector
filter(s)
analog/digital
electronic
Elegant
Astra
RF Tweak

## Slide 7: I versus t
Gun
BC0
BC1
BC2

## Slide 8: Simulations
IR / THz
window
screen
e-
mirror
detector
filter(s)
analog/digital
electronic
Fourier transform

## Slide 9: Formfactors

## Slide 10: Simulations
IR / THz
window
screen
e-
mirror
detector
filter(s)
analog/digital
electronic
THz Transport

## Slide 11: CDR and Beamline

## Slide 12: Simulations
IR / THz
window
screen
e-
mirror
detector
filter(s)
analog/digital
electronic
response

## Slide 13: Response of Detectors and Electronics
To be adapted from FLASH…

## Slide 14: Diffraction Radiation Measurement with BCM
IR / THz
window
screen
e-
mirror
detector
filter(s)
detector
filter(s)
splitter
preamp
shaper
ADC

## Slide 15: Diffraction Radiation Measurement with Spectrometer
IR / THz
window
screen
e-
mirror
detectors
grating
Courtesy of S. Wesch

## Slide 16: 4.5MHz Test Scheme
EOD Laser
Amplifier
AOM
DG645
54MHz
100Hz
1-4.5MHz
Oscilloscope
Pyrodetector + Amplifiers
NIR (1mm)
Elect. Signal
1-4.5MHz
100Hz
CR110
CR200/50ns

## Slide 17: Results
frep=1MHz, Ep ~ 40nJ
frep=4.1MHz, Ep ~ 40nJ

## Slide 18: Results
frep=1MHz, Ep ~ 40nJ
frep=4.1MHz, Ep ~ 40nJ

## Slide 19: Results
frep=1MHz, Ep ~ 300nJ
frep=4.1MHz, Ep ~ 400nJ

## Slide 20: Results
frep=1MHz, Ep ~ 300nJ
frep=4.1MHz, Ep ~ 400nJ

## Slide 21: Outlook
From beam dynamics to detector voltage
Wakefield calculations
Detector development / improvement
MTCA.4 compatibility
4.5MHz operation  feedback

## Slide 22: End
Thank you for your attention!