## Slide 1: Detector technology and systems
Marc Weber

## Slide 2: Detectors driven by science
Photon science Particle physics
Science enabled by technology

## Slide 3: Focus and challenges
Particle physics
Science at neutron sources
Nuclear and hadron physics
Neutrino physics
Astroparticle physics
Dark matter searches
Science at
photon sources
Scientific applications
Low power
Billion-channel detectors
Radiation
hardness
Low mass
Edge-less detectors
High bandwidth
High quantum
efficiency
High resolution
Real-time data processing
Integration of
complex
systems
Low noise
Challenges
Highly integrated,
pixelated
detector systems
Detector Technologies
& Systems
Notes: Environmental conditions
Radiation environment
Magnetic fields
Temperatures
Cryogenic
Extreme data rates
Millions to billions of channels
Low mass, innovative materials
Real-time reconstructions
High Z sensors
High quantum efficiency
High spatial, energy and time resolution
Edge-less sensors
VLSI
Massively parallel computing
Heterogeneous digital hardware
3D integration
Optical data communication
packaging
Low noise
Low power

## Slide 4: Anticipated large-scale facilities
Cutting-edge detectors are needed for all facilities and for
all science fields in “Matter”
Construction
Operation
European XFEL
LHC, HL-LHC (ATLAS, CMS, ALICE)
ESS
KATRIN
Pierre Auger Observatory
Matter and the Universe
From Matter to Materials and Life
ANKA
Edelweiss, EURECA/SuperCDMS
PETRA III, FLASH
IceCube, PINGU
H.E.S.S., MAGIC, VERITAS, CTA
FAIR (APPA, CBM/HADES, NUSTAR, PANDA)
BESSY, BESSYVSR
2010
2020

## Slide 5: Example: LHC tracker upgrades
We are close to the experiments and the science.
Detectors and technologies are not available
off-the-shelf.
five- to tenfold increase in track density and thus channels number
massive power distribution and cooling challenge
tenfold increase in radiation levels
Need a first level trigger decision within ~6 μs to do the science.
How to deal with ~400 billion tracks/second ?

## Slide 6: How to cope with these challenges?
Successful detector instrumentation demands:
Deep understanding of underlying physics principles
Broad technological expertise and multidisciplinary approaches
Access to sophisticated and expensive technological processes
Experience to combine technological building blocks into complex systems
Understanding of the science detectors will deliver
Creativity and originality

## Slide 7: Detector technology and systems (DTS)
5 Helmholtz centers/institutes
Demonstrated history in detector conception, design and delivery
Multi-disciplinary teams of scientists, engineers and technicians
Access to major technical facilities and infrastructures
Well-embedded in international instrumentation community and experimental collaborations
Numerous national and international leadership positions
DTS is an ambitious attempt to exploit synergies
between centers and disciplines.

## Slide 8: Philosophy and choices
For “best value for money”, we were guided by:
Which are the key technologies to enable the science?
Which detector types offers the highest science return?
Where are synergies largest and where is collaboration most rewarding?
Where is DTS world-leading and where should its technical portfolio be enhanced?

## Slide 9: Topic structure
Sensors, ASICs and Interconnects
Data Transmission and Processing
Detector Systems
Sensors
Readout Electronics
Terabit/s Optical Data Transmission
HGF-Cube
Interconnect, Packaging and Innovative
Materials
Intelligent
Programmable
Electronics
Parallel Processing
Compact Gaseous Detectors
Fast Photon and X-ray Detectors
Fast Timing Detector Systems
CMOS Sensor Systems
Networking, Outreach and Applications beyond “Matter”

## Slide 10: Sensors, ASICs and Interconnects
  Objectives:
  technologies for unprecedented efficiency, resolution and fluences
  mass- and edge-less detectors
  transition from millions to billions of pixels
  Challenges:
  extreme environmental requirements
  extreme integration density and functionality
  analog design for shrinking transistor size
  transition from hybrid pixels to 3D and monolithic technologies

## Slide 11: Competence and breadth in sensors
Our sensor portfolio ranges from CdZnTe, diamond, GaAs, Ge, Si to cryogenic YBCO sensors.
We host and have access to unique irradiation facilities at DESY, GSI, KIT.
Our sensor specialists are driving the field and hold key positions in various experiments.
Percival CMOS
Cryogenic YBCO
GEM-TPC
Diamond on Iridium 962
Helmholtz cube with CdTe and GaAs

## Slide 12: Sharing of expensive technologies
Advances in microelectronics will enable detectors of unprecedented functionality.
Custom microchips (ASICs) are a must.
However costs for modern IC technology (< 65 nm CMOS, 3D, etc.) become prohibitive. Design process is getting involved and lengthy.
=> We combine forces, share designs and submissions, develop common building blocks between DESY, FZJ, GSI and KIT.
=> We strengthen overall expertise by creating a new ASIC design group at FZJ and a new ASIC professorship at KIT.

## Slide 13: Data Transmission and Processing
  Objectives:
  Coping with unprecedented detector data rates and volumes
  Challenges:
  Moving electronic intelligence (FPGAs) closer to detector despite radiation and power constraints
  Tb/s optical links for data transmission out of detector volume
  Innovative DAQ and trigger architectures.
  Detector-related advanced algorithms and computing.
Helmholtz MTCA.4 AMC
Picosecond sampling
Optical data transmission for detectors

## Slide 14: Original and high-gain research
Our portfolio includes selected high-risk/high gain elements
We adapt technologies from elsewhere (e.g. telecommunication) to detectors
We support others moving from prove-of-concept to production systems
Example 1: Electro-Optical-Modulation (see talk of C. Koos)
Example 2: Large-area diamond detectors (University Augsburg: Diamond-on-Irridium)
Principle: Electro-Optical-Modulation
DOI samples produced in Augsburg

## Slide 15: High-tech systems at fast R&D cycles
Long lead times are a nuisance and costly
Our approach is: modular frameworks, common platforms and synergetic collaboration
Example 1: Readout for HGF cube
  Readout, ADC, 10GbE links
Example 2: UFO High-throughput DAQ framework
  High speed detectors, FPGA, PCIe links, GPUs

## Slide 16: Detector Systems
  Objectives:
  Demonstrate cutting-edge technologies in complex, functional and scalable systems
  Challenges:
  Need to be selective
  Find balance between systems ready for use and prototypes
  Be ambitious while avoiding blue sky research
Smart tomography camera
CMS Tracker Inner Barrel

## Slide 17: Demonstrators for science
We aim to develop modular demonstrator systems ready for use at beam line or test beam.
Example 2: Beam diagnostics with superconducting THz sensor
Example 1: Helmholtz cube
Image with CdTe sensor

## Slide 18: Organisation
Precursor of DTS was established in 2012.
Since then, we have a lean but proven organisational structure.
Experienced subtopic coordinators are assigned and have been active since 2012.
Goals, milestones and responsibilities are well-defined.
We are, however, prepared to accommodate the unexpected and to react to opportunities not obvious today.
Technologies for integrated detectors
H Graafsma (DESY)
Ultrafast communication and analysis
J Ritman (FZJ)
Detector prototypes
CJ Schmidt (GSI)
Executive board
M Weber (KIT), subtopic coordinators
Collaboration board
Advisory board
Cross-disciplinary applications
F Fiedler (HZDR)

## Slide 19: From Helmholtz to Universities and Society
Close collaboration with many major research centers and universities
  within experiments
  through Helmholtz Alliances (HAP, Terascale) and “MUTLink”
Topical workshops
WE Heraeus seminar
Applications in other field
Support of spin-offs / industry

## Slide 20: Summary
“Detector technology and systems” is fully aligned with the strategy of “Matter”
DTS raises the level of cooperation between the HGF center and partners to a new level
We believe:
to have compiled a coherent research portfolio that fits our competences and scientific needs
that DTS will be a major player in the international community
that DTS will be a leader in shaping detector systems of unprecedented performance and complexity for the large-scale facilities of tomorrow.

## Slide 21: Appendix

## Slide 22: Detector challenges in “Matter” are extreme
Our detectors and technologies are not available off-the-shelf.

## Slide 23: Vom LHC zum High-Luminosity-LHC
LHC sollte > 20 Jahre Daten liefern
statistische Messfehler sinkt nur mit 1/N
daher Umbau des LHC in verschiedenen Phasen
p-p-Kollisionen: ~ 1000 Spuren/Ereignis
Pb-Pb –Kollisionen: ~ 10000 Spuren/Ereignis
≙ HL-LHC