## Slide 1: HOM RTM status and production plans
Samer Bou Habib
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: Agenda
Status
Test board results
Plans

## Slide 3: Status
Filter test board finished
Tests made
Some tuning required
1.3 GHz
1.7 GHz
2.4 GHz
A
A
A
Input signal

## Slide 4: Results
32, 0, 0
8, 16, 24
S21
S11
Att. Settings [dB]
@1.3, 1.7, 2.4 GHz

## Slide 5: Status
RTM schamtics 70% done
PCB <50% done
Some open issues
  Power levels

## Slide 6: Plans
September
August
July
May - June
Filter tuning
RTM design finish
Production + Assembly
Verification
Performance
REV 2?
Application firmware
Application firmware test

## Slide 7
Thank you for your attention
S.BouHabib@elka.pw.edu.pl
Samer.Bou.Habib@desy.de