## Slide 1: The LUXE experiment
Laser Und XFEL.EU Experiment
Florian Burkart (MPY1) for the LUXE collaboration
XFEL Machine Advisory Committee
Hamburg, 07/11/2018

## Slide 2: General layout
Dump
17.5 GeV e−
Linac
Dipole
Kicker & Septa
Dipole
1bunch
Kick out one bunch and send it to the experimental area.
Experimental Area Hall
Triplet

## Slide 3: Electron - Laser Collision
Triplet
Laser
pulse
IP
Mirror
Mirror
γ
Dipole
PDET
EDET
E < 16 GeV
e−
e+
γCAL
Dipole
e+
e−
γ
CAL
Dump
~5 m
~ 20 m
~15 m
tbd
electrons

## Slide 4: Photon - Laser Collision
Collimation
γCAL
Dipole
e+
e−
γ
CAL
Triplet
Photon converter
Dipole
Counter
Counter
E < 16 GeV
e−
e+
γ
Laser
pulse
Mirror
Mirror
Dipole
PDET
EDET
E < 16 GeV
e−
e+
Dump
5 m
15 m
10 m
5 m
tbd
IP
electrons

## Slide 5: General infrastructure requirements for LUXE
Electron beam line (~ 60 m)
  Magnets (Fast kickers, septa, triplet, spectrometer)
  Beam instrumentation
  Collimator
  Single bunch beam dump.
Space for 150 sqm Laserlab
Laser and laser transport
Detectors
General infrastructure:
  Crane, power, water cooling, ventilation, IT
  Shielding
  Integration into XFEL Control and MPS system

## Slide 6: Possible location at the XFEL
HED
MID
FXE
SPB
SQS
SCS
SASE 1
3 – 24 keV
SASE 2
3 – 24 keV
SASE 3
0.26 – 3 keV
photon tunnel
electron bend
undulator
electron dump
electron tunnel
electron switch
experiments
LINAC
17.5 / 14 / 10.5 GeV
~
~
~

## Slide 7: Picture of XS1
Dump line
Electron beam lines
XTD20

## Slide 8: XTD20 during construction (2014)
Dimensions:
4.5 x 4.3 x 61 m
Crane shaft
Media shaft

## Slide 9: CAD Modell
XTD1
XTD2
XTD20

## Slide 10: Possible location at the XFEL
HED
MID
FXE
SPB
SQS
SCS
SASE 1
3 – 24 keV
SASE 2
3 – 24 keV
SASE 3
0.26 – 3 keV
photon tunnel
electron bend
undulator
electron dump
electron tunnel
electron switch
experiments
LINAC
17.5 / 14 / 10.5 GeV
~
~
~

## Slide 11: XSDU1

## Slide 12: XSDU1 dump cavern

## Slide 13: Location Considerations
XSDU1
Modification of beam line – downtime to be evaluated.
Potential impact on legal situation (additional extraction/beam dump, beam line)  plan-approval procedure.
Maybe radiation towards XTD7  additional shiedling required.
New building at the surface.
Background from beam dump.
Already studied (optics, HW, …).
XTD20
Uses existing building and beam line design.
Major modification of extraction beam line - downtime to be evaluated.
Extraction and beam line already included in plan-approval.
Laser beam line transport via XS1 shaft.
Early implementation of the beam extraction for future XFEL upgrade and/or test beam area.
Additional demonstration of the flexibility of the facility.
New option to be studied.

## Slide 14: Timeline and Outlook
First discussions with XFEL Directorate, Directorate supportive.
DESY directorate supportive.
Design study strongly supported via DESY strategy fund.
Funding received for laser development from Helmholtz Innovation pool.
Application for EU funding (ERC synergy grant, 14M€) foreseen next year.
Main challenge: Fit construction into XFEL schedule - under investigation.
Next steps: decide on location, preparation CDR, evaluate modification schedule, …

## Slide 15: Conclusion
LUXE as QED basic research – would enlarge the scientific scope of XFEL.
Theory and accelerator community is very interested in conducting this experiment at the XFEL.
DESY and XFEL directorate supportive.
Design consideration with input from various DESY technical groups.
Layout and achievable parameters look feasible.
Possible location of the experiment found in XSDU1 or XTD20.
Major modification of extraction beam line needed.
Early implementation of the beam extraction for future XFEL upgrade and/or test beam area.
Integration, Installation and Design studies ongoing.

## Slide 16: Direct comments from MAC – report under preparation
Very interesting project.
Timeline to be evaluated.
Difficult modification of the beam line!!
Check ”standard” beam parameters (14 GeV, 0.25 nC)
More studies needed – full start to end simulation, background studies.