## Slide 1
Micro-Pattern Gaseous Detectors
Fabio Sauli
TERA Foundation and CERN
Bethe Forum on Particle Detectors
Bonn, March 31-April 11, 2014

## Slide 2
MPGD READOUT
OF TIME PROJECTION CHAMBERS
PART 2

## Slide 3
MPGD TPC FOR THE INTERNATIONAL LINEAR COLLIDER
GENERAL PURPOSE END-CAP
FOR PROTOTYPE ASSEMBLY AND TEST

## Slide 4
72 MICROMEGAS MODULES (35x36 cm2)
READOUT: 36x48 PADS of 9.7x6.9 mm2
A. Delbart, Nucl. Instr. and Meth. A623(2010)105
N. Abragall et al, Nucl. Instr. and Meth. A637(2011)25
T2K MICROMEGAS TIME PROJECTION CHAMBER

## Slide 5
T2K MICROMEGAS TIME PROJECTION CHAMBER
GAIN UNIFORMITY
~ 2% RMS
ENERGY RESOLUTION ON 55Fe:
N. Abragall et al, Nucl. Instr. and Meth. A637(2011)25

## Slide 6
GEM-TPC
GEM TPC READOUT:
10,254 HEXAGONAL PADS, 3 mm Ø
B. Ketzer, Nucl. Instr. and Meth, A732(2013)237
FOPI GEM-TPC: PROTOTYPE STUDY FOR THE ALICE TPC UPGRADE

## Slide 7
GEM-TPC
FOPI GEM-TPC: ENERGY RESOLUTION
F. Böhmer et al, Nucl. Instr. and Meth. A737(2014)214
CALIBRATION: 83mKr SOURCE IN THE GAS VOLUME
41 KeV
dE/dx RESOLUTION IN 0.6 T:

## Slide 8
DISCHARGES AND SPARKING
GAIN REDUCTION AT HIGH RATES
RADIATION DAMAGE (AGING)
POSITIVE IONS BACKFLOW IN TPCs
MPGDs:
HAVE THEY SOLVED THE MWPC
PROBLEMS?

## Slide 9
MICROMEGAS SPARK RATE
SPARK PROBABILITY IN HADRON BEAM
D. Neyret, MPGD2009 (Crete, June 12-17, 2009)
For a gain of 5.103 , 106 particles s-1:
~ one discharge per second
A. Delbart et al, Nucl. Instr. and Meth. A478(2002)205
A. Bay et al, Nucl. Instr. and Meth. A488(2002)162
1
0.95
0.9
0.85
EFFICIENCY
DISCHARGE PROBABILITY
10-7 10-6 10-5 10-4

## Slide 10
RESISTIVE MICROMEGAS
Spark rates in neutron beam exposure:
T. Alexopolous et al,
Nucl. Instr. and Meth. A640(2011)110
J. Galán et al, Nucl. Instr. and Meth. A732(2013)229
Rate capability:

## Slide 11
MULTIGEM DISCHARGE PROBABABILITY
S. Bachmann et al,
Nucl. Instr. and Meth. A479 (2002) 294
WHAT ABOUT THE RAETHER LIMIT?
GAIN VS VOLTAGE – 5.9 keV
IN MULTI-GEMS, THE CHARGE SPREADS OVER MANY INDEPENDENT HOLES!
DISCHARGE RATE ON ~ 5 MeV a
Q~107
Q~108
Q~109
DISCHARGE PROBABILITY VS GAIN:
Q~107
Q~108
Q~109

## Slide 12
GEM DISCHARGES
G=10000
S. Bachmann et al,
Nucl. Instr. and Meth. A470(2001)548
EFFICIENCY VS VOLTAGE
DISCHARGE RATE VS GAIN
No discharges in 12 hrs of operation at gain 104
COMPASS TRIPLE GEM DETECTOR

## Slide 13
GEM EXPOSURE TO NEUTRONS
10x10 cm2 TRIPLE-GEM tested in neutron beam
G. Croci et al, Nucl. Instr. and Meth, A71292013)108

## Slide 14
RADIATION HARDNESS: MICROMEGAS
Systematic irradiation of small (10x10 cm2) prototypes:
G. Iakovidis, MPGD 2013
20 C cm-2
~ 4 1014 MIPS cm-2
F. Hartjes, MPGD 2009

## Slide 15
RADIATION HARDNESS: GEM
M. Alfonsi et al, Nucl. Instr. and Meth. A518(2004)106
20 C/cm2
~ 4 1014 MIPS cm-2
D. Abbaneo et al, JINST 9(2014)C01053
CMS Muon Upgrade Triple-GEM
Exposed at the Gamma Irradiation Facility (GIF) at CERN
7 mC/cm2
LHCb Triple-GEM tracker

## Slide 16
POSITIVE IONS BACKFLOW (IBF): MICROMEGAS
(MWPC-TPC: IBF~30%)
MICROMEGAS:
The ions backflow depends on avalanche spread but cannot be smaller than the field ratio:
ED
EA
P. Colas et al, Nucl. Instr. and Meth. A535(2004)226
Ar-CH4 97-3
EA/ED
1%
FIELD RATIO
1%
5%

## Slide 17
POSITIVE IONS BACKFLOW: GEM
IBF IN MULTIGEM DETECTORS
The fractional ion backflow detectors results from a complex interplay of geometry, fields, diffusion:
MAGNETIC FIELD:
2 10-3
M. Killenberg et al, Nucl. Instr. and Meth. A530(2004)251
A. Bondar et al, Nucl. Instr. and Meth. A496(2003)325
5 10-3
GAS:
THE WISH:

## Slide 18
POSITIVE IONS BACKFLOW: GEM
GAS DEPENDENCE OF THE IBF
B. Ketzer et al, Nucl. Instr. and Meth. A732(2013)237
Ar-CO2 70-30: ~ 0.8%
Ne-CO2 (ALICE): ~ 5%

## Slide 19
RATE DEPENDENCE OF IBF
Ar/CO2 (70/30)
RATE (CHARGE DENSITY) DEPENDENCE:
MULTIGEM DETECTORS
ALICE UPGRADE STUDIES
B. Ketzer
INSTR2014 Novosibirsk

## Slide 20
F.W. Bohmer et al,Nucl. Instr. and Meth. A719(2013)101
POSITIVE IONS: SPACE CHARGE DISTORTIONS
SIMULATION STUDIES FOR PANDA
2 107 p-p ANNIHILATIONS
TRIPLE GEM OPERATED IN Ne-CO2 90-10
GAIN M=2000 IBF 2.5 10-3 (M-1=0.5 10-3 )
SPACE CHARGE DENSITY
ELECTRIC FIELD DISTORTIONS

## Slide 21
NEW APPROACHES FOR IBF REDUCTION: GEM
EXPLOIT THE DIFFERENCE BETWEEN IONS AND ELECTRONS DIFFUSION IN AN OFFSET DOUBLE THICK-GEM
F. Sauli et al,
Nucl. Instr. and Meth. A560(2006)269

## Slide 22
NEW APPROACHES FOR IBF REDUCTION: MICROMEGAS
MICROMEGAS WITH OFFSET METAL MESHES:
F. Jeanneau et al, Nucl. Instr. and Meth. A623(2010)94
OPEN PROBLEMS:
LARGE AREAS?
EFFECT OF MAGNETIC FIELD?
REALISTIC TPC GAS?
NEW IDEAS WELCOME!
10-5

## Slide 23
MPGD APPLICATIONS

## Slide 24
UV PHOTON DETECTION
EDRIFT ~ 0
e
CsI LAYER
D. Mormann et al,
Nucl. Instr. and Meth. A478(2002)230
REFLECTIVE CsI PHOTOCATHODE COATING
RELATIVE QUANTUM EFFICIENCY AS A FUNCTION OF EXTRACTION FIELD:
A. Breskin et al,
Nucl. Instr. and Meth. A483(2001)670

## Slide 25
PHENIX HADRON BLIND DETECTOR
e+
e-
E
Protons
C. Aidala et al, Nucl. Instr. and Methods A502(2003)200
Z. Fraenkel et al, Nucl. Instr. and Methods A546(2005) 466

## Slide 26
PHENIX HDB CONSTRUCTION
HADRONS
ELECTRONS
TRIPLE-GEM MODULES 268x221 mm2
HEXAGONAL PADS READOUT
GAS FILLING: PURE CF4
W. Anderson et al,
Nucl. Instr. and Meth. A645(2011)35

## Slide 27
CHERENKOV RING IMAGING
COMPASS RICH-1 UPGRADE
TRIPLE-THICK GEM CsI-COATED 30x30 cm2
M. Alexeev et al, Nucl. Instr. and Meth. A732(2013)264
TEST BEAM: SINGLE EVENT
EVENTS OVERLAP:

## Slide 28
OPTICAL IMAGING CHAMBERS
GEM SCINTILLATION
He-CF4 (60-40)
EMISSION SPECTRUM:
PHOTON YIELD/ELECTRON
M.M.F. Fraga et al, Nucl. Instr. and Meth. A504(2003)88
Monochromator

## Slide 29
OPTICAL IMAGING CHAMBERS
F.A.F. Fraga et al,
Nucl. Instr. and Meth. A478(2002)357
L.M.S. Margato et al,
Nucl. Instr. and Meth. A535(2002)231
NEUTRON INTERACTIONS IN 3He
LIGHT YIELD OF END-OF RANGE 5.48 MeV a:
GEM-BASED OPTICAL TPC

## Slide 30
OPTICAL IMAGING CHAMBERS
DOSE MEASUREMENT IN HADROTHERAPY
A.V. Klyaxhko et al,
Nucl. Instr. and Meth. A694(2012)271
BRAGG PEAK:
COLLIMATED BEAM PROFILE

## Slide 31
MPGD NEUTRON DETECTORS
CASCADE
M. Klein and Ch. Schmidt,
Nucl. Instr. and Meth. A628(2011)9
10B-COATED GEM ELECTRODES

## Slide 32
CASCADE
M. Klein and Ch. Schmidt,
Nucl. Instr. and Meth. A628(2011)9
EXAMPLE OF NEUTRON RADIOGRAPHY
MPGD NEUTRON DETECTORS

## Slide 33
MPGD NEUTRON DETECTORS
n
α
bGEM: Aluminum foil cathode coated with 1 µm of Boron Carbide
10B(n,a)7Li
G. Croci et al, Nucl. Instr. and Meth. A732(2013)217
2-D THERMAL NEUTRON BEAM PROFILE

## Slide 34
DUAL-PHASE MPGDs
IONIZATION ELECTRONS ARE EXTRACTED FROM THE LIQUID, AMPLIFIED AND DETECTED
A. Bondar et al, Nucl. Instr. and Meth. A556(2006)273
EXTRACTION PROBABILITY
CRYOGENIC Triple-GEM GAIN

## Slide 35
DUAL-PHASE MPGDs
LIQUID ARGON TPC
LARGE ELECTRON MULTIPLIER (LEM)
MUON TRACK IN THE LEM-TPC
A. Badertscher et al, Nucl. Instr. and Meth. 641(2011)48

## Slide 36
GAS MEETS SILICON

## Slide 37
THE ULTIMATE MPGD: SILICON PIXELS READOUT
E. Costa et al, Nature 411(2001)662
DEDICATED ASIC WITH PIXEL READOUT
~ 105 HEXAGONAL PIXELS AT 50 µm PITCH
HIGH GRANULARITY GEM, 50 µm PITCH
1 mm2
R. Bellazzini et al, Nucl. Instr. and Meth. A572(2007)160
6 KeV PHOTOELECTRON:

## Slide 38
THE ULTIMATE MPGD-TPC
ELECTRON TRACKS FROM 90Sr IN MAGNETIC FIELD (0.2 T):
MICROMEGAS OR GEM BUILT OVER A SILICON PIXEL READOUT:
INGRID, GRIDPIX, …..
H. Van der Graaf, Nucl. Instr. and Meth. A628(2011)27
Harry van der Graaf
Lectures

## Slide 39
WAT’S NEXT?
THIS IS UP TO YOU!

## Slide 40
AND IF YOU WANT TO KNOW MORE…
… COMING SOON
THANKS FOR YOUR ATTENTION